Ductility Test Record Sheet

| Document Ref: | Enter document reference |
| --- | --- |
| Test Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Tested By: | Enter name and position |
| Witnessed By: | Enter name and position |

# Material and Test Details

| Material Type: | Reinforcing steel / Structural steel / Pipe / Sheet / Wire / Other |
| --- | --- |
| Material Grade: | e.g., B500B, B500C per BS 4449 / S275, S355 per BS EN 10025 |
| Manufacturer: | Enter manufacturer / mill name |
| Heat / Cast Number: | Enter heat or cast number for traceability |
| Bar Diameter / Section: | Enter bar diameter (mm) or section size |
| Delivery Ticket Ref: | Enter delivery ticket reference |
| Location of Use: | Describe where the material will be used on the project |
| Test Standard: | BS 4449 / BS EN ISO 15630 / BS EN 10002 / BS EN ISO 6892 / Other |
| Test Laboratory: | Enter testing laboratory name (UKAS accredited?) |
| Lab Report Ref: | Enter laboratory report reference number |
| Specification Clause: | Enter specification reference |

# Tensile and Ductility Test Results

Record results from tensile testing. For reinforcing steel to BS 4449, key ductility parameters include elongation at maximum force (Agt), total elongation at fracture (A5), and tensile-to-yield ratio (Rm/Re).

| Sample No. | Dia. (mm) | Yield Re (MPa) | Tensile Rm (MPa) | Rm/Re Ratio | Agt (%) | A5 (%) | Gauge Length (mm) | Pass / Fail | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |

# Acceptance Criteria (Reference)

| Property | Class B (BS 4449) | Class C (BS 4449) | Project Requirement |
| --- | --- | --- | --- |
| Characteristic yield strength Re (MPa) | 500 | 500 |  |
| Rm/Re ratio (min) | ≥1.08 | ≥1.15 and ≤1.35 |  |
| Elongation at max force Agt (min %) | ≥5.0% | ≥7.5% |  |
| Total elongation A5 (min %) | N/A | N/A |  |

# Bend Test Results (If Applicable)

Record bend test results where specified. Bend tests assess ductility by bending specimens around a mandrel of specified diameter without cracking.

| Sample No. | Dia. (mm) | Mandrel Dia. (mm) | Bend Angle (°) | Cracks Visible? | Pass / Fail | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

# Test Summary

| Total Samples Tested: |  |
| --- | --- |
| Samples Passed: |  |
| Samples Failed: |  |
| Overall Result: | Pass / Fail – material approved for use / material rejected |

Record any observations, anomalies, or actions required for failed samples. If material fails, describe the disposition (reject, retest, concession request, alternative supply).

# Test Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Tester / Laboratory |  |  |  |
| Site Engineer |  |  |  |
| Quality Manager |  |  |  |
| Client / Supervisor |  |  |  |

# Notes / Additional Comments

Enter additional notes. Attach laboratory test certificates and mill certificates.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |