Design Compliance Check Record

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Check Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Prepared By: | Enter name and position |
| Approved By: | Enter name and position |

# Design Package Details

| Design Package: | Describe the design package being checked (e.g., structural steel, MEP, drainage) |
| --- | --- |
| Design Stage: | Concept / Developed / Detailed / Construction Issue / As-Built |
| Designer: | Enter design organisation name |
| Drawing Numbers: | List drawing numbers and revisions being checked |
| Specification Ref: | Enter specification reference(s) |
| Calculation Ref: | Enter design calculation reference(s) |
| Design Responsibility: | Client Design / Contractor Design / Subcontractor Design |
| CDM Design Risk Register: | Enter reference to CDM design risk register |

## A. General Design Compliance

| No. | Check Item | Comp. | Non-C | N/A | TQ Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Design issued at correct revision for construction (construction issue confirmed) |  |  |  |  |  |
| 2 | Design approved through the correct review and approval process |  |  |  |  |  |
| 3 | Design complies with the employer's requirements / works information |  |  |  |  |  |
| 4 | Design complies with applicable Building Regulations 2010 (as amended) |  |  |  |  |  |
| 5 | Design complies with CDM 2015 requirements – designer duties under Regulation 9 |  |  |  |  |  |
| 6 | CDM design risk assessments completed and residual risks communicated |  |  |  |  |  |
| 7 | Design coordinated with other disciplines (no clashes or conflicts identified) |  |  |  |  |  |
| 8 | BIM model (if applicable) updated and consistent with 2D drawings |  |  |  |  |  |

## B. Standards and Codes Compliance

| No. | Check Item | Comp. | Non-C | N/A | TQ Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 9 | Structural design complies with Eurocodes (BS EN 1990-1999) and UK National Annexes |  |  |  |  |  |
| 10 | MEP design complies with relevant standards (BS 7671, BS 5839, CIBSE guides) |  |  |  |  |  |
| 11 | Fire engineering design complies with Approved Document B and BS 9999 |  |  |  |  |  |
| 12 | Drainage design complies with BS EN 752 and Sewers for Adoption |  |  |  |  |  |
| 13 | Geotechnical design complies with BS EN 1997 (Eurocode 7) |  |  |  |  |  |
| 14 | Materials specified comply with relevant product standards and CE/UKCA requirements |  |  |  |  |  |
| 15 | Accessibility requirements met per Approved Document M and BS 8300 |  |  |  |  |  |
| 16 | Thermal performance meets Building Regulations Part L requirements |  |  |  |  |  |

## C. Buildability and Constructability

| No. | Check Item | Comp. | Non-C | N/A | TQ Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 17 | Design can be constructed safely with available methods and equipment |  |  |  |  |  |
| 18 | Temporary works requirements identified and communicated |  |  |  |  |  |
| 19 | Construction sequence considered and logical |  |  |  |  |  |
| 20 | Access for construction, maintenance, and future replacement considered |  |  |  |  |  |
| 21 | Tolerances specified are achievable in practice |  |  |  |  |  |
| 22 | Interface details between different elements are clear and complete |  |  |  |  |  |
| 23 | Lifting weights and sizes are within available cranage capacity |  |  |  |  |  |
| 24 | Prefabrication and off-site manufacturing opportunities identified |  |  |  |  |  |

## D. Documentation Completeness

| No. | Check Item | Comp. | Non-C | N/A | TQ Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 25 | All required drawings issued for this package |  |  |  |  |  |
| 26 | Design calculations complete and checked (Category 2 or 3 check as required) |  |  |  |  |  |
| 27 | Specifications complete with all necessary clauses |  |  |  |  |  |
| 28 | Schedules provided (reinforcement, doors, windows, ironmongery, finishes) |  |  |  |  |  |
| 29 | Design risk register (CDM) complete and issued to contractor |  |  |  |  |  |
| 30 | Design change register up to date with all changes tracked |  |  |  |  |  |
| 31 | Outstanding TQs and RFIs identified and tracked to resolution |  |  |  |  |  |
| 32 | Design freeze confirmed for this package or outstanding items listed |  |  |  |  |  |

# Outstanding TQs / RFIs Arising from This Check

| No. | Query Description | Drawing/Spec Ref | TQ/RFI Ref | Issued To | Response Due |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# Check Summary and Recommendation

Summarise the overall findings of the design compliance check. Highlight any critical non-compliances, outstanding queries, or areas requiring further design development before construction can proceed.

| Compliant Items: |  |
| --- | --- |
| Non-Compliant Items: |  |
| N/A Items: |  |
| Outstanding TQs: |  |
| Recommendation: | Approved to Construct / Approved Subject to TQ Resolution / Not Approved – Further Design Required |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Design Checker |  |  |  |
| Section Engineer |  |  |  |
| Design Manager |  |  |  |
| Project Manager |  |  |  |

# Notes / Additional Comments

Enter any additional notes.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |