Subcontractor Quality Audit Checklist

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Audit Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Subcontractor Name: | Enter subcontractor company name |
| Subcontract Package: | Describe scope of works |
| Subcontract Ref: | Enter subcontract order reference |
| Auditor Name: | Enter auditor name and position |
| Subcontractor Rep: | Enter name and position of subcontractor representative present |
| Audit Type: | Initial Mobilisation / Routine / Follow-Up / Close-Out |

## A. Quality Management System and Documentation

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 1 | Subcontractor holds a current ISO 9001 certificate (or equivalent) and a copy is on file |  |  |  |  |
| 2 | A project-specific quality plan or method statement has been submitted and approved |  |  |  |  |
| 3 | Inspection and test plans (ITPs) have been submitted, reviewed, and approved for all work activities |  |  |  |  |
| 4 | Method statements are specific to the works, reference relevant standards, and have been briefed to operatives |  |  |  |  |
| 5 | Material submittals, data sheets, and approvals are in place prior to materials being used on site |  |  |  |  |
| 6 | Document control is in place – current revisions of drawings and specifications are being used |  |  |  |  |
| 7 | Quality records are being maintained, filed, and are retrievable (test results, inspection records, ITPs signed off) |  |  |  |  |
| 8 | Non-conformance reports are being raised, recorded, and tracked to close-out |  |  |  |  |
| 9 | RAMS have been reviewed and accepted by the principal contractor prior to works commencing |  |  |  |  |

## B. Workforce Competence and Training

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 10 | All operatives hold valid CSCS cards appropriate to their trade and role |  |  |  |  |
| 11 | Copies of relevant qualifications and trade certificates are on file (e.g., NVQ, City & Guilds, CPCS, NPORS) |  |  |  |  |
| 12 | Operatives have been inducted to the site and records are available |  |  |  |  |
| 13 | Task-specific briefings and toolbox talks have been delivered and recorded |  |  |  |  |
| 14 | Supervisors are competent and hold appropriate qualifications (e.g., SMSTS/SSSTS) |  |  |  |  |
| 15 | Specialist operatives hold the required certifications (e.g., welding certs to BS EN ISO 9606, IPAF, PASMA) |  |  |  |  |

## C. Materials and Supply Chain

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 16 | Materials delivered to site match the approved submittals and specification requirements |  |  |  |  |
| 17 | CE/UKCA marking and declarations of performance are available for relevant products |  |  |  |  |
| 18 | Material test certificates are provided and reviewed (e.g., mill certs, concrete batch records) |  |  |  |  |
| 19 | Materials are stored correctly, protected from damage, and segregated where required |  |  |  |  |
| 20 | Material traceability is maintained – delivery tickets are retained and cross-referenced to locations |  |  |  |  |
| 21 | Shelf-life-sensitive materials (adhesives, sealants, grouts) are within date and stored per manufacturer guidance |  |  |  |  |
| 22 | Damaged or rejected materials are clearly marked, segregated, and recorded |  |  |  |  |

## D. Workmanship and Quality of Work

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 23 | Work is being carried out in accordance with approved method statements and ITPs |  |  |  |  |
| 24 | Workmanship is to the required standard and consistent with approved benchmark/reference areas |  |  |  |  |
| 25 | Hold points on ITPs are being observed – work does not proceed until signed off |  |  |  |  |
| 26 | Witness points are being notified with adequate notice to the supervisor/client |  |  |  |  |
| 27 | Dimensional checks and setting out are within specified tolerances |  |  |  |  |
| 28 | In-process inspections are being carried out and recorded by the subcontractor's supervision |  |  |  |  |
| 29 | Completed work is being protected from damage by subsequent trades |  |  |  |  |
| 30 | Defective or non-conforming work is identified, recorded, and remedied before proceeding |  |  |  |  |

## E. Testing and Verification

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 31 | Testing is being carried out in accordance with the ITP and specification requirements |  |  |  |  |
| 32 | Test equipment is calibrated and certificates are available |  |  |  |  |
| 33 | Test results are recorded and reviewed against acceptance criteria |  |  |  |  |
| 34 | Failed tests are reported immediately and corrective action is taken |  |  |  |  |
| 35 | Third-party testing is arranged where required and results are on file |  |  |  |  |
| 36 | Concrete cube/cylinder samples are taken at the correct frequency and tested by a UKAS-accredited lab |  |  |  |  |

## F. Health, Safety and Environmental Compliance

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 37 | Subcontractor's works comply with their approved RAMS and site rules |  |  |  |  |
| 38 | PPE is being worn correctly and is appropriate for the tasks being undertaken |  |  |  |  |
| 39 | Plant and equipment is in good condition with current inspection/test certificates |  |  |  |  |
| 40 | Work areas are clean, tidy, and well-organised (good housekeeping) |  |  |  |  |
| 41 | Waste is being segregated and managed in accordance with the site waste management plan |  |  |  |  |
| 42 | Environmental controls are in place (dust suppression, silt management, spill kits) |  |  |  |  |

## G. Communication and Coordination

| No. | Audit Item | Yes | No | N/A | Comments / Evidence |
| --- | --- | --- | --- | --- | --- |
| 43 | Subcontractor attends coordination meetings and progress reviews as required |  |  |  |  |
| 44 | Interface issues with other trades are being managed proactively |  |  |  |  |
| 45 | Technical queries and RFIs are raised in writing through the proper channels |  |  |  |  |
| 46 | Changes to scope or design are managed through the formal variation process |  |  |  |  |
| 47 | Subcontractor's programme is aligned with the master programme and progress is reported |  |  |  |  |

# Audit Findings Summary

Overall Audit Summary and Key Findings

Summarise the key findings, areas of good practice, non-conformances identified, and overall assessment of the subcontractor's quality performance.

| Total Yes: |  |
| --- | --- |
| Total No: |  |
| Total N/A: |  |
| Compliance Score (%): | (Yes / (Yes + No)) x 100 |
| Overall Rating: | Satisfactory (>85%) / Requires Improvement (60-85%) / Unsatisfactory (<60%) |

# Corrective Actions Required

| No. | Finding / Non-Conformance | Checklist Ref | Corrective Action | Responsible | Due Date | Status |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

# Audit Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Auditor |  |  |  |
| Subcontractor Representative |  |  |  |
| Quality Manager |  |  |  |
| Project Manager |  |  |  |

# Notes / Additional Comments

Enter any additional notes.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |