External Works Snagging Checklist

| Document Ref: | Enter document reference |
| --- | --- |
| Inspection Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Area / Phase: | Enter external area or phase reference |
| Inspected By: | Enter name and position |
| Accompanied By: | Enter names and organisations |

## A. Roads, Paving, and Hard Landscaping

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Road surface finish smooth, even, and free from defects (ruts, cracks, potholes) |  |  |  |  |  |
| 2 | Kerbs aligned to correct line and level, no damaged or displaced units |  |  |  |  |  |
| 3 | Block paving laid to pattern, level, joints filled, edge restraints secure |  |  |  |  |  |
| 4 | Flag paving level, stable, no rocking or lippage exceeding tolerance |  |  |  |  |  |
| 5 | Tarmac finish consistent, no roller marks, segregation, or fat spots |  |  |  |  |  |
| 6 | Surface water drainage falls correct – no ponding visible |  |  |  |  |  |
| 7 | Speed bumps, road markings, and thermoplastic lines complete to specification |  |  |  |  |  |
| 8 | Tactile paving installed at all crossing points per Approved Document M |  |  |  |  |  |
| 9 | Vehicle crossings and dropped kerbs at correct locations and to standard |  |  |  |  |  |
| 10 | Bollards, barriers, and vehicle restraint systems installed and secure |  |  |  |  |  |

## B. External Drainage

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 11 | Manhole covers and frames set to correct level, flush with surrounding surface |  |  |  |  |  |
| 12 | Manhole interiors clean, benching smooth, channels clear |  |  |  |  |  |
| 13 | Gullies installed at low points, grating level, and draining freely |  |  |  |  |  |
| 14 | Linear drainage channels clear, covers fitted, falls correct |  |  |  |  |  |
| 15 | CCTV survey completed and passed for all drainage runs |  |  |  |  |  |
| 16 | Soakaways, attenuation tanks, or SuDS features installed and functional |  |  |  |  |  |
| 17 | Petrol interceptors / separators installed and operational (where required) |  |  |  |  |  |

## C. Soft Landscaping and Planting

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 18 | Topsoil depth and quality to specification (typically 150-300mm) |  |  |  |  |  |
| 19 | Grass seeding or turfing established, even coverage, no bare patches |  |  |  |  |  |
| 20 | Trees planted to correct species, size, and spacing per landscape drawing |  |  |  |  |  |
| 21 | Tree stakes, guards, and ties correctly installed and secure |  |  |  |  |  |
| 22 | Shrub and hedge planting to correct species, size, and density |  |  |  |  |  |
| 23 | Mulch applied to planting beds at correct depth (typically 50-75mm) |  |  |  |  |  |
| 24 | Irrigation system installed and operational (where specified) |  |  |  |  |  |
| 25 | Landscape maintenance period confirmed and handover care instructions provided |  |  |  |  |  |

## D. Boundary Treatments and Fencing

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 26 | Fencing installed to correct height, type, and alignment per drawing |  |  |  |  |  |
| 27 | Fence posts plumb, secure, and set in concrete where specified |  |  |  |  |  |
| 28 | Gates operational, latches and locks working, correct swing direction |  |  |  |  |  |
| 29 | Walls and retaining walls plumb, level, joints pointed, coping stones secure |  |  |  |  |  |
| 30 | Brick or blockwork boundary walls to correct specification and finish |  |  |  |  |  |
| 31 | Acoustic fencing (where specified) installed to correct height and detail |  |  |  |  |  |

## E. External Lighting and Electrical

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 32 | Column and bollard lighting installed, operational, and at correct height |  |  |  |  |  |
| 33 | Lighting levels meet specification (lux levels checked if required) |  |  |  |  |  |
| 34 | External socket outlets and connection points installed and tested |  |  |  |  |  |
| 35 | Earthing and bonding of external metalwork complete |  |  |  |  |  |
| 36 | CCTV cameras and security systems installed and operational |  |  |  |  |  |
| 37 | Electric vehicle charging points installed and functional (where specified) |  |  |  |  |  |

## F. External Utilities and Services

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 38 | Meter boxes accessible, undamaged, and clearly labelled |  |  |  |  |  |
| 39 | External valve chambers and stop taps accessible and operational |  |  |  |  |  |
| 40 | Fire hydrants installed, accessible, and marked with indicator plates |  |  |  |  |  |
| 41 | Service routes marked with marker posts / tape as required |  |  |  |  |  |
| 42 | External gas governor and meter installation complete and commissioned |  |  |  |  |  |

## G. Site Furniture, Signage, and Finishing

| No. | Inspection Item | Pass | Fail | N/A | Snag Ref | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 43 | Benches, bins, cycle racks, and other furniture installed per drawing |  |  |  |  |  |
| 44 | Signage installed (wayfinding, statutory, building name plates) |  |  |  |  |  |
| 45 | Handrails and balustrades on external steps/ramps secure and to standard |  |  |  |  |  |
| 46 | Steps and ramps to correct dimensions with nosings and DDA compliance |  |  |  |  |  |
| 47 | Bin store enclosures complete, doors operational, drainage provided |  |  |  |  |  |
| 48 | Substation, plant compound, and service yard areas complete and secure |  |  |  |  |  |
| 49 | All construction materials, temporary works, and debris removed from site |  |  |  |  |  |
| 50 | Site clean and presented to handover standard |  |  |  |  |  |

# Snag Summary

| Total Items Inspected: |  |
| --- | --- |
| Total Pass: |  |
| Total Fail (Snags): |  |
| Total N/A: |  |
| Area Status: | Ready for Handover / Snags Outstanding / Re-Inspection Required |
| Re-Inspection Date: | DD/MM/YYYY |

# Inspection Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector |  |  |  |
| Site Manager |  |  |  |
| Landscape Architect |  |  |  |
| Client Representative |  |  |  |

# Notes / Additional Comments

Enter additional notes and photograph references.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |