Room-by-Room Snagging Checklist

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Inspection Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Building / Block: | Enter building or block reference |
| Floor / Level: | Enter floor or level |
| Room / Space: | Enter room name, number, or reference |
| Room Use: | e.g., Office, WC, Kitchen, Plant Room, Corridor |
| Inspected By: | Enter name and position |
| Accompanied By: | Enter name and organisation |

## A. Walls and Partitions

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Plasterwork smooth, flat, and free from ridges, hollowness, or cracking |  |  |  |  |  |
| 2 | Wall surfaces plumb and square (check with spirit level) |  |  |  |  |  |
| 3 | Internal corners clean and straight |  |  |  |  |  |
| 4 | Paint finish even, no runs, drips, misses, or brush marks |  |  |  |  |  |
| 5 | Correct paint colour and number of coats applied |  |  |  |  |  |
| 6 | Wallpaper (if applicable) properly aligned, no bubbles, peeling or gaps at seams |  |  |  |  |  |
| 7 | Tile work flush, level, grout lines consistent and fully pointed |  |  |  |  |  |
| 8 | No cracks, chips, or damage to wall tiles |  |  |  |  |  |
| 9 | Skirting boards straight, tightly fitted, mitres closed, no gaps to wall or floor |  |  |  |  |  |
| 10 | Dado rails and picture rails (if applicable) level and securely fixed |  |  |  |  |  |
| 11 | Sealant neatly applied at junctions between different materials |  |  |  |  |  |
| 12 | Fire-stopping and cavity barriers installed and visible where required |  |  |  |  |  |

## B. Ceilings

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 13 | Ceiling surface smooth, flat, and free from cracks, staining, or blemishes |  |  |  |  |  |
| 14 | Suspended ceiling grid straight, level, and tiles properly seated |  |  |  |  |  |
| 15 | No damaged, misaligned, or missing ceiling tiles |  |  |  |  |  |
| 16 | Access panels fitted flush and operational |  |  |  |  |  |
| 17 | Cornices and coving (if applicable) straight, mitres closed, no gaps |  |  |  |  |  |
| 18 | Paint finish even and consistent with specification |  |  |  |  |  |
| 19 | Ceiling-mounted items (lights, sprinklers, detectors) properly trimmed and finished |  |  |  |  |  |

## C. Floors

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 20 | Floor covering correctly laid, flat, no bubbles, lifting edges, or poorly fitted joints |  |  |  |  |  |
| 21 | Carpet properly fitted, stretched, and trimmed at edges |  |  |  |  |  |
| 22 | Vinyl or linoleum welded at seams and coved up to skirting (if required) |  |  |  |  |  |
| 23 | Tile floor level, grout complete, no cracked or hollow tiles |  |  |  |  |  |
| 24 | Screed surface (if exposed) level and free from cracking or dusting |  |  |  |  |  |
| 25 | Floor finish clean and undamaged (no scratches, scuffs, or construction debris) |  |  |  |  |  |
| 26 | Threshold strips and transition strips properly fitted between different floor finishes |  |  |  |  |  |
| 27 | Floor level and falls correct (particularly in wet areas) |  |  |  |  |  |
| 28 | Anti-slip flooring installed in areas specified |  |  |  |  |  |

## D. Doors and Ironmongery

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 29 | Doors open, close, and latch smoothly without sticking or catching |  |  |  |  |  |
| 30 | Door hinges correctly fitted, no squeaking, adequate swing clearance |  |  |  |  |  |
| 31 | Locks and latches operate correctly, keys provided and tested |  |  |  |  |  |
| 32 | Door closers fitted, adjusted to correct closing speed, and latching |  |  |  |  |  |
| 33 | Door seals, smoke seals, and intumescent strips fitted as specified |  |  |  |  |  |
| 34 | Fire door signage and certification labels in place |  |  |  |  |  |
| 35 | Door frames plumb, square, and gap to door leaf consistent |  |  |  |  |  |
| 36 | Paint finish on doors and frames complete and undamaged |  |  |  |  |  |
| 37 | Door furniture (handles, push plates, kick plates) fitted, aligned, and secure |  |  |  |  |  |
| 38 | Vision panels clean and undamaged |  |  |  |  |  |
| 39 | Architraves fitted tightly, mitres closed, no gaps |  |  |  |  |  |

## E. Windows and Glazing

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 40 | Windows open, close, and lock correctly |  |  |  |  |  |
| 41 | Window restrictors fitted and functional where specified |  |  |  |  |  |
| 42 | Glazing clean, free from scratches, cracks, or labels |  |  |  |  |  |
| 43 | Window seals and gaskets properly seated, no gaps |  |  |  |  |  |
| 44 | Window sills level, undamaged, and properly sealed |  |  |  |  |  |
| 45 | Trickle vents (if fitted) operational and unobstructed |  |  |  |  |  |
| 46 | Manifestation applied where required to meet Building Regulations |  |  |  |  |  |
| 47 | Condensation channels and drainage clear |  |  |  |  |  |

## F. Electrical Installation

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 48 | Light switches operate correctly and are level, square to wall |  |  |  |  |  |
| 49 | Socket outlets operational, level, and undamaged |  |  |  |  |  |
| 50 | Light fittings operational, correctly aligned, lenses clean and undamaged |  |  |  |  |  |
| 51 | All switch plates and socket faceplates clean, undamaged, and consistent finish |  |  |  |  |  |
| 52 | Emergency lighting functional and tested |  |  |  |  |  |
| 53 | Fire alarm devices (detectors, sounders, call points) fitted and operational |  |  |  |  |  |
| 54 | Data and comms outlets installed to specification |  |  |  |  |  |
| 55 | Wiring enclosed, no exposed cables or unterminated ends visible |  |  |  |  |  |
| 56 | Dimmer switches (if fitted) operational across full range |  |  |  |  |  |

## G. Mechanical and Plumbing

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 57 | Radiators / heating emitters level, securely fixed, valves operational |  |  |  |  |  |
| 58 | Radiators bled, heating system balanced and reaching temperature |  |  |  |  |  |
| 59 | Air conditioning / ventilation operating and delivering air to specification |  |  |  |  |  |
| 60 | Grilles and diffusers clean, level, undamaged, and properly trimmed to ceiling |  |  |  |  |  |
| 61 | Sanitary ware securely fixed, undamaged, and clean |  |  |  |  |  |
| 62 | Taps and mixers operational, hot and cold correctly connected |  |  |  |  |  |
| 63 | Waste and overflow connections watertight, no leaks under test |  |  |  |  |  |
| 64 | Toilet cistern fills and flushes correctly, seat secure |  |  |  |  |  |
| 65 | Shower (if applicable) functional, screen sealed, no leaks |  |  |  |  |  |
| 66 | Pipework boxings and covers neatly fitted and accessible |  |  |  |  |  |
| 67 | Thermostatic mixing valves set to correct temperature |  |  |  |  |  |

## H. Joinery and Built-In Fitments

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 68 | Kitchen units (if applicable) level, square, doors aligned, and drawers sliding freely |  |  |  |  |  |
| 69 | Worktops level, joints tight, edge trims secure, silicone sealed to wall |  |  |  |  |  |
| 70 | Shelving level, securely fixed, brackets correct |  |  |  |  |  |
| 71 | Cupboard doors and drawers open and close smoothly, catches operational |  |  |  |  |  |
| 72 | Ironmongery on joinery items complete and operational |  |  |  |  |  |
| 73 | Vanity units and bathroom furniture securely fitted and undamaged |  |  |  |  |  |

## I. General Items

| No. | Inspection Item | Pass | Fail | N/A | Snag Description | Responsible / Due |
| --- | --- | --- | --- | --- | --- | --- |
| 74 | Room clean and free from construction debris, dust, and packaging |  |  |  |  |  |
| 75 | All protective coverings and labels removed |  |  |  |  |  |
| 76 | Sealant and mastic joints neat, continuous, and fully cured |  |  |  |  |  |
| 77 | No visible snags, defects, or incomplete works |  |  |  |  |  |
| 78 | Signage installed as specified (room numbers, fire signage, accessible signage) |  |  |  |  |  |
| 79 | Decoration complete, touch-ups not required |  |  |  |  |  |
| 80 | All services tested and commissioned with certificates available |  |  |  |  |  |

# Snag Summary

| Total Items Inspected: |  |
| --- | --- |
| Total Pass: |  |
| Total Fail (Snags): |  |
| Total N/A: |  |
| Room Status: | Ready for Handover / Snags Outstanding / Re-Inspection Required |
| Re-Inspection Date: | DD/MM/YYYY (if required) |

# Inspection Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector |  |  |  |
| Site Manager |  |  |  |
| Client Representative |  |  |  |

# Notes / Additional Comments

Enter any additional notes, photograph references, or follow-up actions.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |