| EARTHING AND BONDING TEST RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Building / Area: | Enter building or area reference |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents earthing and bonding test results in accordance with BS 7671 (IET Wiring Regulations). All earthing and bonding must be tested and verified before the installation is energised. Earth electrode resistance must be measured using a calibrated earth resistance tester. Bonding continuity must be verified using a low-resistance ohmmeter.

1. System Details

| Earthing System Type: | TN-S / TN-C-S / TT / IT (per BS 7671) |
| --- | --- |
| Supply Type: | Single phase / Three phase |
| Supply Voltage: | 230V / 400V / Other |
| Main Earthing Terminal Location: |  |
| Earth Electrode Type (if TT): | Rod / Plate / Tape / Mat / Foundation earth |
| Earth Electrode Location: |  |
| Main Protective Bonding Conductor Size: | Enter mm² (e.g. 10mm², 16mm², 25mm²) |
| Supplementary Bonding Required: | Yes / No (per BS 7671 Chapter 41/54) |
| Drawing Reference: | Enter earthing layout drawing number and revision |
| Specification Reference: | Enter specification clause (BS 7671, project spec) |

2. Test Equipment

| Earth Resistance Tester: | Make, model, serial number |
| --- | --- |
| Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: |  |
| Low Resistance Ohmmeter: | Make, model, serial number |
| Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: |  |

3. Earth Electrode Resistance

Record earth electrode resistance for TT systems or where earth electrodes are installed.

| No. | Electrode Ref / Location | Method | Resistance (Ω) | Required (Ω) | Pass / Fail |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

4. Main Protective Bonding

Verify continuity of main protective bonding conductors to all extraneous-conductive-parts per BS 7671 Chapter 54.

| No. | Service Bonded | Conductor Size (mm²) | Resistance (Ω) | Required (Ω) | Pass / Fail |
| --- | --- | --- | --- | --- | --- |
| 1 | Incoming water service |  |  |  |  |
| 2 | Incoming gas service |  |  |  |  |
| 3 | Incoming oil service (if applicable) |  |  |  |  |
| 4 | Structural steelwork |  |  |  |  |
| 5 | Lightning protection system |  |  |  |  |
| 6 | Central heating pipework |  |  |  |  |
| 7 | Other metallic services |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |

5. Supplementary Bonding

Record supplementary bonding tests where required (e.g. bathrooms, swimming pools, special locations per BS 7671).

| No. | Location / Items Bonded | Conductor Size (mm²) | Resistance (Ω) | Required (Ω) | Pass / Fail |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |

6. Overall Result

| Ze (External Earth Fault Loop Impedance): | Enter Ω |
| --- | --- |
| Total Earth Electrode Resistance (Ra): | Enter Ω (TT systems) |
| Overall Earthing System: | Satisfactory / Unsatisfactory |
| Overall Bonding: | Satisfactory / Unsatisfactory |
| NCR Raised: | Yes / No (if Yes, state NCR reference) |
| Remedial Work Required: | Yes / No (describe) |

7. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Electrical Engineer / Tester |  |  |  |
| Electrical Supervisor |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

8. Notes / Additional Comments

Enter any additional notes

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS 7671 (IET Wiring Regulations, 18th Edition), BS EN 62305 (Lightning Protection), BS 7430 (Earthing), Electrical Installation Certificate (EIC), ITP