| INSULATION RESISTANCE TEST RECORD (MEGGER) |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Distribution Board: | Enter DB or system reference |
| Drawing Reference: | Enter SLD / cable schedule reference |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents insulation resistance (IR) testing of electrical cables and circuits in accordance with BS 7671 (IET Wiring Regulations). IR testing must be carried out with all equipment disconnected and the installation isolated. Test between all live conductors and earth, and between live conductors. Record all readings in megohms (MΩ).

1. Test Equipment

| Insulation Resistance Tester Make: |  |
| --- | --- |
| Model: |  |
| Serial Number: |  |
| Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: |  |
| Calibration Due Date: | DD / MM / YYYY |

2. Minimum IR Values (per BS 7671 Table 6.3)

| Circuit Voltage (V) | Test Voltage (V DC) | Minimum IR Value (MΩ) |
| --- | --- | --- |
| SELV and PELV | 250 | 0.5 |
| Up to 500V (including 230/400V) | 500 | 1.0 |
| Above 500V up to 1000V | 1000 | 1.0 |
| Above 1000V | 2500 or as specified | As specified |

3. Insulation Resistance Test Results

Test between each live conductor and earth (L-E, N-E) and between live conductors (L-L). Minimum acceptable value: 1.0 MΩ for 500V test on LV circuits.

| No. | Cable / Circuit Ref | From | To | Voltage | Test V | L1-E MΩ | L2-E MΩ | L3-E MΩ | N-E MΩ | L1-L2 MΩ | L2-L3 MΩ | L1-L3 MΩ | Pass/Fail | Tested By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

4. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Electrical Tester |  |  |  |
| Electrical Supervisor |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

5. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |

References: BS 7671 (18th Edition, Chapter 6 / Regulation 612.3), GN3 (IET Guidance Note 3), Electrical Installation Certificate (EIC), Project Specification, ITP