Instrument Set Point Register

Master register of all instrument set points, alarm values, and trip thresholds for the project or system. Used during commissioning to verify that all control system parameters are configured correctly in the PLC/SCADA/DCS and match the approved process design. This register forms part of the permanent commissioning and handover documentation.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Process Area: | Enter system name or process area |
| Control System Type: | e.g. PLC, SCADA, DCS — enter make and model |
| Source Document for Set Points: | Enter process design document, HAZOP, or cause and effect reference |
| Prepared By: | Name / role |
| Approved By (Process Engineer): | Name / role |

Legend

Type: PT = Pressure Transmitter, TT = Temperature Transmitter, FT = Flow Transmitter, LT = Level Transmitter, AT = Analyser Transmitter, PS = Pressure Switch, TS = Temperature Switch, FS = Flow Switch, LS = Level Switch.

LL = Low-Low, L = Low, H = High, HH = High-High. Trip = value at which equipment trips or ESD activates.

Control Action: e.g. Start/Stop pump, Open/Close valve, Duty/Standby changeover, Alarm only, ESD activation.

Set Point Register

| No. | Tag No. | Description | P&ID Ref | Type | Range | Units | LL Alarm | L Alarm | Set Point | H Alarm | HH Alarm | Trip | Control Action | Verified By | Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Guidance Notes

1. All set points must be derived from the approved process design and verified against the HAZOP / SIL assessment where applicable.

2. Set point values must be confirmed in the PLC/SCADA/DCS configuration and verified during functional testing.

3. Any changes to set points during commissioning must be recorded as a revision to this register and approved by the process engineer.

4. Safety-critical set points (SIL-rated) must be verified by an independent person and cross-referenced to the safety requirements specification (SRS).

5. This register should be cross-referenced with calibration records, loop check sheets, and cause and effect matrices.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Instrument / Control Engineer |  |  | DD / MM / YYYY |
| Process Engineer |  |  | DD / MM / YYYY |
| Commissioning Manager |  |  | DD / MM / YYYY |
| Client / Operations Representative |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, cause and effect matrix references, SIL assessment references, or commissioning procedure cross-references here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue — design set points |  |  |
| B |  | Updated after commissioning verification |  |  |