SCADA Point Schedule and Verification Record

Master schedule and verification record of all SCADA / telemetry points including analogue inputs/outputs, digital inputs/outputs, and calculated values. Each point is verified at both the SCADA/HMI display level and in the field to confirm correct signal path, scaling, display, and alarm configuration. This register forms part of the commissioning and handover documentation.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Site: | Enter system, site, or process area |
| SCADA / Control System: | Enter SCADA platform (e.g. Schneider ClearSCADA, Siemens WinCC, ABB Ability) |
| PLC / RTU / Outstation Type: | Enter PLC/RTU make, model, and firmware version |
| Communications Protocol: | e.g. Modbus TCP, DNP3, IEC 61850, OPC UA, Profinet |
| Prepared By: | Name / role |
| Approved By: | Name / role |

Legend

Signal Type: AI = Analogue Input, AO = Analogue Output, DI = Digital Input, DO = Digital Output, PI = Pulse Input, CALC = Calculated / Derived Value.

SCADA Display: Confirm the point appears correctly on the relevant SCADA mimic/screen with correct tag, description, units, and live value.

SCADA OK / Field OK: Y = Verified correct, N = Failed (record defect and retest), NA = Not applicable.

SCADA Point Schedule

| No. | SCADA Tag | Field Tag | Description | Signal Type | I/O Address | PLC / RTU | Eng. Units | Range Lo | Range Hi | SCADA Display | Alarm Config | SCADA OK | Field OK | Tester | Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Guidance Notes

1. Verify each analogue point by applying a known signal (e.g. 4mA = 0%, 20mA = 100%) at the field instrument and confirming correct reading on the SCADA display.

2. Verify each digital point by operating the field device and confirming correct state change on SCADA (open/closed, run/stop, healthy/fault).

3. Verify alarm configuration — force each alarm condition and confirm correct alarm text, priority, and annunciation on SCADA.

4. Verify control outputs — issue commands from SCADA and confirm correct field response (valve movement, pump start/stop, VSD speed change).

5. Record any points requiring re-configuration or correction and issue a defect / snagging item.

6. Final verified schedule to be issued as part of the O&M documentation and SCADA system handover pack.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| SCADA / Control Systems Engineer |  |  | DD / MM / YYYY |
| Instrument / I&C Engineer |  |  | DD / MM / YYYY |
| Commissioning Manager |  |  | DD / MM / YYYY |
| Client / Operations Representative |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, SCADA mimic screenshot references, communication test results, or defect report references here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue — design schedule |  |  |
| B |  | Updated after commissioning verification |  |  |