Flushing and Cleaning Record

Record of pre-commissioning flushing and cleaning operations for pipework systems. Completed as a permanent quality record demonstrating system cleanliness prior to commissioning. In accordance with BSRIA BG 29 (Pre-commission Cleaning of Pipework Systems), BS 8552 (Sampling and monitoring of water), CIBSE Commissioning Codes, and the project specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Flushing Contractor: | Enter contractor / subcontractor name |
| Prepared By: | Name / role |
| Approved By: | Name / role |

System Details

| System / Line Reference: | Enter pipeline or system designation |
| --- | --- |
| Section Description: | Enter description of section flushed (from — to) |
| P&ID / Isometric Drawing Ref: | Enter drawing reference(s) |
| Pipe Material: | Enter material specification |
| Pipe Size (NB): | Enter nominal bore (mm) |
| Approximate System Volume (litres): | Enter calculated volume |
| Service / Medium in Operation: | e.g. potable water, chilled water, heating, process fluid |

Flushing Parameters

| Flushing Method: | e.g. high-velocity water flush, air blow, chemical clean, pig run, steam blow |
| --- | --- |
| Flushing Medium: | e.g. clean mains water, demineralised water, compressed air, nitrogen |
| Flushing Procedure Reference: | Enter approved flushing procedure document reference |
| Flushing Flow Rate (l/s): | Enter target and actual flow rate achieved |
| Target Flushing Velocity (m/s): | Enter minimum velocity required (typically 1.5-3.0 m/s) |
| Actual Flushing Velocity (m/s): | Enter measured or calculated velocity |
| Flushing Duration: | Enter total flushing time |
| Water Source: | Enter source of flushing water |
| Chemical Treatment (if used): | Enter chemical type, concentration, and contact time |
| Temporary Strainers / Screens: | Enter mesh size and location of temporary strainers fitted |
| Components Removed for Flushing: | e.g. control valves, instruments, flow meters, check valves |
| Isolation Points: | Enter details of system isolation and boundary valves |

Flushing Cycle Log

Record each flush pass or cycle. Continue flushing until cleanliness acceptance criteria are met.

| Cycle | Start Time | End Time | Flow Rate (l/s) | Velocity (m/s) | Duration (min) | Strainer Check | Comments / Observations |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |

Cleanliness Acceptance

| Cleanliness Standard Required: | e.g. visually clean, NAS 1638 Class, ISO 4406 code |
| --- | --- |
| Acceptance Method: | e.g. visual clarity, strainer inspection, particle count, turbidity |
| Number of Flush Passes: | Enter number of flushing cycles completed |
| Final Strainer Condition: | Describe condition of final strainer mesh (clean / debris found) |
| Water Clarity at Discharge: | e.g. clear, slight discolouration, cloudy |
| Particle Count Result (if reqd): | Enter ISO 4406 code or NAS class achieved |
| Turbidity Reading (NTU): | Enter if measured |
| pH at Discharge: | Enter if measured |
| Chloride Level at Discharge (ppm): | Enter if applicable (stainless steel systems) |
| Overall Flushing Result: | Pass / Fail |

Waste Water Disposal

| Disposal Method: | e.g. to foul drain (with consent), tanker removal, settlement tank, treatment |
| --- | --- |
| Environmental Permit / Consent Ref: | Enter consent or permit reference if discharging to watercourse |
| Waste Transfer Note Ref: | Enter WTN reference if waste removed by tanker |
| Chemical Neutralisation: | Describe neutralisation method if chemicals used |

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Flushing Operative / Supervisor |  |  | DD / MM / YYYY |
| Mechanical Installer Foreman |  |  | DD / MM / YYYY |
| QC Inspector / Commissioning Engineer |  |  | DD / MM / YYYY |
| Client / Witness Representative |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, photographic references of strainer condition, or water sample analysis results here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |