| PIPE PRESSURE TEST RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Test Certificate No: | Enter unique certificate number |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents a pressure test on a pipeline section. Testing must comply with the project specification and applicable standards (BS EN 805, WIS 4-01-01, BS 8010 or as specified). All pressure testing must be carried out safely with appropriate exclusion zones and risk assessment in place. The test must be witnessed by the client's representative at hold points.

1. Pipeline / Section Details

| Pipeline / System: | Describe the system (e.g. potable water main, foul rising main, process pipework) |
| --- | --- |
| Section Reference: | Enter pipeline section or test section reference |
| Drawing Reference: | Enter P&ID, GA or layout drawing number and revision |
| Specification Reference: | Enter specification clause (e.g. WIS 4-01-01, BS EN 805, BS 8010) |
| Pipe Material: | Ductile iron / HDPE / uPVC / Steel / GRP / Concrete / Copper / Other |
| Pipe Diameter (DN): | Enter nominal diameter (mm) |
| Pipe Class / Pressure Rating: | e.g. PN10, PN16, PN25, Class 150, SDR 11 |
| Wall Thickness: | Enter wall thickness (mm) |
| Section Length (m): | Enter length of test section |
| Elevation Range (m AOD): | Enter lowest and highest point of test section |
| Joint Type: | Flanged / Welded / Electrofusion / Butt fusion / Push fit / Mechanical |
| Maximum Allowable Working Pressure (MAWP): | Enter bar or kPa |
| Design Pressure: | Enter bar or kPa |
| Test Medium: | Water (hydrostatic) / Air (pneumatic) / Nitrogen / Other |

2. Test Parameters

| Test Pressure: | Enter test pressure (bar) — typically 1.5x MAWP or as per specification |
| --- | --- |
| System Test Pressure (STP): | Enter bar (if different from above per specification) |
| Test Duration: | Enter hours (typically 1–2 hours for hydrostatic, varies by standard) |
| Maximum Allowable Pressure Loss: | Enter bar or kPa (specify pass/fail criteria per specification) |
| Pressure Gauge Make / Model: |  |
| Pressure Gauge Range: | Enter range (bar) — test pressure should be between 25–75% of gauge range |
| Pressure Gauge Calibration Date: | DD / MM / YYYY |
| Pressure Gauge Certificate Ref: |  |
| Pressure Source: | Test pump (hand / electric / pneumatic) |
| Temperature Compensation Required: | Yes / No (for long-duration tests, note ambient temperature variation) |

3. Pressure Readings

Record pressure at regular intervals throughout the test duration.

| No. | Time | Elapsed (min) | Pressure (bar) | Ambient Temp (°C) | Water Temp (°C) | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |

4. Test Result

| Test Start Date and Time: | DD / MM / YYYY HH:MM |
| --- | --- |
| Test End Date and Time: | DD / MM / YYYY HH:MM |
| Initial Pressure: | Enter bar |
| Final Pressure: | Enter bar |
| Pressure Loss: | Enter bar |
| Allowable Pressure Loss: | Enter bar |
| Visible Leaks Observed: | Yes / No (if Yes, describe location and action) |
| Water Added During Test: | Yes / No (if Yes, state volume in litres) |
| Test Result: | PASS / FAIL |
| If Failed, Action Taken: | Describe: leak located and repaired, section retested, NCR raised |
| Retest Required: | Yes / No (if Yes, state date and new certificate number) |

5. Declaration

We certify that the above pipeline section has been pressure tested in accordance with the specification and applicable standards. The test was conducted safely and the results recorded above are a true and accurate record. The pipeline section has been inspected for visible leaks during the test period.

6. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Test Engineer |  |  |  |
| Site Engineer |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative (witness) |  |  |  |

7. Notes / Additional Comments

Enter any additional notes

8. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS EN 805, WIS 4-01-01, BS 8010, PED 2014/68/EU, ASME B31.3, Project Specification, ITP