| PORTABLE APPLIANCE TEST (PAT) LOG |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Site Address: | Enter site address |
| PAT Tester Name: | Name and qualification |
| PAT Tester Make / Model: |  |
| PAT Tester Serial No: |  |
| PAT Tester Calibration Date: | DD / MM / YYYY |
| Prepared By: | Name, position and company |

This log records portable appliance testing (PAT) for all electrical equipment used on site. PAT testing must be carried out by a competent person in accordance with the IET Code of Practice for In-Service Inspection and Testing of Electrical Equipment and the Electricity at Work Regulations 1989. Failed equipment must be immediately removed from service, labelled as defective and recorded in the failed items register below.

1. Suggested Test Frequencies

These are indicative intervals for construction sites. Always follow your company policy and site rules.

| Equipment Type / Environment | Class | Suggested Interval |
| --- | --- | --- |
| Construction site — 110V portable tools | I / II | 3 months |
| Construction site — 230V equipment | I / II | 3 months |
| Site office — IT equipment, printers | I / II | 12 months |
| Site office — kettles, heaters, chargers | I / II | 6 months |
| Extension leads and adaptors (site use) |  | 3 months |
| 110V transformers | I | 3 months |

2. PAT Test Log

Record each appliance tested. Result: P = Pass, F = Fail. Failed items must be removed from service immediately.

| No. | PAT ID | Description | Make / Model | Class | Voltage | Owner | Visual OK | Earth Ω | Insul MΩ | Lead Ω | Op Test | Result | Date | Next Due | Tester |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

3. Failed / Removed Items Register

Record all appliances that have failed PAT testing or been removed from service.

| No. | PAT ID | Description | Defect Found | Action Taken | Date Removed | Replaced By | Sign-Off |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |

4. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| PAT Tester |  |  |  |
| Site Manager |  |  |  |
| H&S Manager |  |  |  |

5. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |

References: Electricity at Work Regulations 1989, IET Code of Practice for In-Service Inspection and Testing, BS 7671, HSE INDG236, HSE Maintaining Portable Electrical Equipment, CDM 2015