Air Content Test Record

Record of air content tests on fresh concrete, typically carried out on air-entrained concrete mixes specified for freeze-thaw resistance (exposure class XF). Tested in accordance with BS EN 12350-7 (Testing fresh concrete — Air content — Pressure methods).

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Pour Location: | Enter element |
| Concrete Supplier: | Enter supplier |

Test Details

| Delivery Ticket No.: | Enter ticket number |
| --- | --- |
| Mix Designation: | Enter BS 8500 designation |
| Exposure Class: | Enter XF class (XF1, XF2, XF3, XF4) |
| Specified Air Content (%): | Enter target (typically 3-6% for XF) |
| Tolerance (+/- %): | Enter permitted tolerance (typically +/- 1.5%) |
| Test Method: | BS EN 12350-7 pressure method / volumetric method |
| Air Meter Make / Model: | Enter air meter details |
| Calibration Date: | DD / MM / YYYY |
| Measured Air Content (%): | Enter result |
| Result: | Pass / Fail — within tolerance |
| Time of Test: | HH:MM |
| Concrete Temperature (°C): | Enter temperature |
| Tested By: | Enter tester name |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Concrete Tester |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| QA Manager |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |