Ambient Conditions Monitoring Log (Coatings)

Log for recording ambient conditions before and during coating application. Temperature, humidity, dew point, and wind conditions must be within specification limits to ensure coating adhesion and cure. In accordance with BS EN ISO 12944 (Corrosion protection of steel structures by protective paint systems) and coating manufacturer data sheets.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Structure / Area: | Enter element being coated |
| Coating System: | Enter coating system reference |

Specification Limits

| Minimum Ambient Temperature (°C): | Enter per coating data sheet (typically 5°C or 10°C) |
| --- | --- |
| Maximum Ambient Temperature (°C): | Enter per data sheet (typically 40°C) |
| Minimum Substrate Temperature (°C): | Enter — must be >3°C above dew point |
| Maximum Relative Humidity (%): | Enter per data sheet (typically 85%) |
| Maximum Wind Speed: | Enter limit for spray application (typically 25 mph / Force 5) |

Condition Readings

| Reading 1 — Time: | HH:MM — Ambient (°C) / RH (%) / Dew Point (°C) / Substrate (°C) / Wind |
| --- | --- |
| Reading 2 — Time: | HH:MM — Ambient / RH / Dew Point / Substrate / Wind |
| Reading 3 — Time: | HH:MM — Ambient / RH / Dew Point / Substrate / Wind |
| Reading 4 — Time: | HH:MM — Ambient / RH / Dew Point / Substrate / Wind |
| Reading 5 — Time: | HH:MM — Ambient / RH / Dew Point / Substrate / Wind |
| Reading 6 — Time: | HH:MM — Ambient / RH / Dew Point / Substrate / Wind |
| All Readings Within Limits: | Yes / No — if No, coating application must stop |
| Hygrometer / Thermometer Serial No.: | Enter instrument serial number |
| Calibration Date: | DD / MM / YYYY |
| Monitored By: | Enter name and certification |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Coating Inspector |  |  | DD / MM / YYYY |
| Coating Applicator Foreman |  |  | DD / MM / YYYY |
| QA Manager |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |