| COATING AND PAINTING INSPECTION RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents the inspection of protective coatings and painting. It covers surface preparation, ambient conditions, application details and DFT measurements for each coat. All coatings must comply with BS EN ISO 12944 (or project specification) and be applied and inspected by competent personnel.

1. Item Details

| Item / Component: | Describe the item being coated (e.g. structural steelwork, pipework, tank, vessel) |
| --- | --- |
| Item / Tag Reference: | Enter asset tag, mark number or piece reference |
| Drawing Reference: | Enter relevant drawing number and revision |
| Specification Reference: | Enter coating specification clause (e.g. BS EN ISO 12944, NACE, project spec) |
| Coating System Reference: | Enter coating system number from specification |
| Substrate Material: | Carbon steel / Stainless steel / Galvanised steel / Concrete / Other |
| Total System DFT (minimum): | Enter total dry film thickness required (µm) |
| Location: | On site / Off site (workshop / fabrication yard) |
| Surface Area (m²): | Enter approximate area to be coated |

2. Surface Preparation

| Surface Preparation Standard: | Sa 2½ / Sa 3 / St 2 / St 3 / SSPC-SP5 / SSPC-SP10 / Other (per BS EN ISO 8501-1) |
| --- | --- |
| Method: | Abrasive blast (grit/shot) / Power tool / Hand tool / Water jetting / Sweep blast |
| Abrasive Type: | Steel grit / Steel shot / Garnet / Aluminium oxide / Copper slag / Other |
| Blast Profile Achieved: | Enter Rz (µm) per BS EN ISO 8503 |
| Profile Assessment Method: | Comparator (ISO 8503-1) / Replica tape (Testex) / Profilometer |
| Surface Cleanliness Achieved: | Sa 2½ / Sa 3 / Other (record actual standard achieved) |
| Soluble Salt Level (if tested): | Enter µg/cm² (Bresle method per ISO 8502-6) |
| Dust Assessment (if tested): | Rating per BS EN ISO 8502-3 (tape test) |
| Surface Prep Inspector: | Name |
| Surface Prep Accepted: | Yes / No (if No, describe rework required) |

3. Ambient Conditions (Per Coat)

Steel temperature must be at least 3°C above dew point. RH must be below 85% (or as specified).

| Parameter | Primer | Intermediate | Finish Coat 1 | Finish Coat 2 |
| --- | --- | --- | --- | --- |
| Air Temperature (°C) |  |  |  |  |
| Relative Humidity (%) |  |  |  |  |
| Dew Point (°C) |  |  |  |  |
| Steel Temperature (°C) |  |  |  |  |
| Steel Temp Above Dew Point (°C) |  |  |  |  |
| Conditions Acceptable (Y/N) |  |  |  |  |

4. Coating Application (Per Coat)

| Parameter | Primer | Intermediate | Finish Coat 1 | Finish Coat 2 |
| --- | --- | --- | --- | --- |
| Product Name |  |  |  |  |
| Manufacturer |  |  |  |  |
| Colour / RAL |  |  |  |  |
| Batch Number |  |  |  |  |
| Date of Application |  |  |  |  |
| Application Method (brush/roller/spray) |  |  |  |  |
| Number of Coats |  |  |  |  |
| WFT Target (µm) |  |  |  |  |
| WFT Measured (µm) |  |  |  |  |
| DFT Target (µm) |  |  |  |  |
| DFT Measured (min) (µm) |  |  |  |  |
| DFT Measured (max) (µm) |  |  |  |  |
| DFT Measured (avg) (µm) |  |  |  |  |
| Overcoat Window (min/max hrs) |  |  |  |  |
| Time Between Coats (hrs) |  |  |  |  |
| Applied By |  |  |  |  |
| Inspected By |  |  |  |  |
| Coat Accepted (Y/N) |  |  |  |  |

5. DFT Readings

Record dry film thickness readings at representative locations across the coated area.

| No. | Location / Zone | Primer (µm) | Inter. (µm) | Finish 1 (µm) | Finish 2 (µm) | Total (µm) | Pass / Fail |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |

6. Additional Tests

| Holiday / Pinhole Detection: | Tested / Not required. Method: low voltage wet sponge / high voltage spark. Result: Pass / Fail |
| --- | --- |
| Adhesion Pull-Off Test: | Tested / Not required. Result (MPa): (per BS EN ISO 4624). Pass / Fail |
| Cross-Cut Adhesion Test: | Tested / Not required. Classification (0-5 per ISO 2409). Pass / Fail |
| Visual Appearance: | Acceptable / Defects noted (runs, sags, dry spray, misses, blistering, pinholes) |
| Stripe Coating Applied: | Yes / No / N/A (edges, welds, bolts, crevices per specification) |

7. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Coating Inspector (NACE / BGAS-CSWIP) |  |  |  |
| Applicator Supervisor |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

8. Notes / Additional Comments

Enter any additional notes, defects, NCRs or deviations from specification

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS EN ISO 12944 (parts 1-9), BS EN ISO 8501-1 (surface prep), BS EN ISO 8503 (profile), BS EN ISO 2808 (film thickness), BS EN ISO 4624 (pull-off), NACE / SSPC Standards, Product TDS