Coating Application Record (Per Coat)

Record of individual coating layer application. Documents product details, application method, wet and dry film thickness, environmental conditions, and overcoat window. One record per coat per area. In accordance with BS EN ISO 12944, coating manufacturer data sheets, and the project coating specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Structure / Component: | Enter element reference |
| Coating Specification Ref: | Enter spec clause / system reference |

Coat Details

| Coat Number: | e.g. 1st coat (primer), 2nd coat (intermediate), 3rd coat (topcoat) |
| --- | --- |
| Coat Type: | e.g. zinc-rich primer, epoxy MIO intermediate, polyurethane topcoat |
| Product Name: | Enter manufacturer product name |
| Manufacturer: | Enter paint manufacturer |
| Batch Number: | Enter batch / lot number for traceability |
| Colour / RAL: | Enter colour and RAL number |
| Specified DFT (µm): | Enter specified dry film thickness range (min — max) |
| Application Method: | e.g. airless spray, conventional spray, brush, roller |
| Thinner Used: | Enter thinner type and percentage added (if any) |
| Mixing Ratio: | Enter base:hardener ratio (if two-pack) |
| Pot Life: | Enter mixed pot life at ambient temperature |
| Stripe Coating Applied: | Yes / No — describe edges, welds, bolts, and corners stripe coated |
| WFT Measured (µm): | Enter wet film thickness readings |
| DFT Measured (µm): | Enter dry film thickness readings (multiple locations) |
| DFT Measurement Method: | e.g. Elcometer magnetic gauge, eddy current gauge |
| DFT Gauge Serial No.: | Enter instrument serial number |
| Calibration Date: | DD / MM / YYYY |
| All DFT Readings Within Spec: | Yes / No — if No, describe remedial action |
| Minimum Overcoat Interval: | Enter per data sheet at ambient temperature |
| Maximum Overcoat Interval: | Enter — if exceeded, surface must be re-prepared |
| Area Coated (m²): | Enter approximate area coated this session |
| Application Start Time: | HH:MM |
| Application End Time: | HH:MM |
| Ambient Temperature (°C): | Enter |
| Relative Humidity (%): | Enter |
| Substrate Temperature (°C): | Enter — confirm >3°C above dew point |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Coating Applicator |  |  | DD / MM / YYYY |
| Coating Inspector |  |  | DD / MM / YYYY |
| QA Manager |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |