| COMPACTION TEST RECORD SHEET |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents in-situ compaction test results for fill materials. Tests must be carried out at the frequency specified in the Inspection and Test Plan. Compaction must achieve the required percentage of Maximum Dry Density (MDD) or meet the end product specification. All testing must comply with BS 1377 and the Specification for Highway Works (SHW) where applicable.

1. Fill Material Details

| Location / Area: | Describe area, chainage, grid reference or plot number |
| --- | --- |
| Drawing Reference: | Enter drawing number and revision |
| Specification Reference: | Enter specification clause (e.g. SHW Series 600) |
| Fill Material Description: | e.g. Class 1A, 2C, 6F2, 6N/6P, Type 1 sub-base, imported granular, site-won |
| Material Source: | Site-won (borrow pit / excavation) / Imported (supplier name) |
| Material Approval Reference: | Enter material approval or test certificate reference |
| Maximum Dry Density (MDD): | Enter kg/m³ (from Proctor test) |
| Optimum Moisture Content (OMC): | Enter % (from Proctor test) |
| Proctor Test Method: | BS 1377: Part 4 (2.5 kg rammer) / BS 1377: Part 4 (4.5 kg rammer) / Vibrating hammer |
| Proctor Test Lab Ref: | Enter laboratory reference number |
| Required Compaction: | % MDD (e.g. 95% MDD) or End Product (e.g. 10% air voids) |
| Layer Thickness (max): | Enter maximum permitted layer thickness (mm) |
| Compaction Plant: | Describe plant type: roller (smooth/sheepsfoot/pneumatic), vibrating plate, rammer |
| Number of Passes Required: | Enter minimum passes per specification or method compaction |

2. In-Situ Density Test Results

Record each test result. Compare dry density against the required % MDD.

| No. | Test Location | Layer No. | Depth (mm) | Dry Density (kg/m³) | Moisture (%) | % MDD | Pass/Fail | Tested By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |

3. Test Method and Equipment

| Test Method: | Nuclear density gauge / Sand replacement / Core cutter / Water replacement / Other |
| --- | --- |
| Test Equipment: | Make, model, serial number |
| Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: |  |
| Test Standard: | BS 1377: Part 9 / BS EN 13286-2 / SHW Clause 612 |
| Test Frequency: | Enter required frequency (e.g. 1 per 500m², 1 per 250m³, or per layer per zone) |

4. Weather Conditions

| Weather at Time of Compaction: | Dry / Light rain / Heavy rain / Frost / Hot |
| --- | --- |
| Weather at Time of Testing: | Dry / Light rain / Heavy rain / Frost / Hot |
| Ambient Temperature (°C): |  |
| Ground Frozen: | Yes / No (compaction not permitted on frozen ground) |
| Standing Water Present: | Yes / No (must be removed before compaction) |

5. Summary

| Total Number of Tests: |  |
| --- | --- |
| Number of Tests Passing: |  |
| Number of Tests Failing: |  |
| Overall Pass Rate (%): |  |
| Failed Tests Retested: | Yes / No (state retest results and actions) |
| Additional Compaction Required: | Yes / No (describe areas and additional passes) |
| Overall Result: | Acceptable / Requires Re-compaction / Rejected |

6. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Site Engineer |  |  |  |
| Testing Technician |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

7. Notes / Additional Comments

Enter any additional notes, failed test actions or deviations from specification

8. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS 1377 (Parts 4 and 9), BS EN 13286-2, Specification for Highway Works (SHW) Series 600, DMRB, ITP