Concrete Crack Mapping and Monitoring Log

Log for recording and monitoring cracks in concrete structures. Captures crack location, width, length, depth, pattern, and progressive measurements over time. Used to assess whether cracks are structural, thermal, shrinkage, or cosmetic, and whether they are stable or propagating. In accordance with BS EN 1992-1-1 (Eurocode 2) crack width limits and the project specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Structure / Element: | Enter element name and gridline reference |
| Pour Date: | DD / MM / YYYY |
| Concrete Age (days): | Enter age at first observation |

Crack Details

| Crack Reference No.: | Enter unique crack ID |
| --- | --- |
| Location: | Enter precise location on element (face, distance from joint, level) |
| Orientation: | Horizontal / Vertical / Diagonal / Random pattern |
| Length (mm): | Enter measured length |
| Width (mm): | Enter measured width at widest point — use crack gauge |
| Depth: | Surface only / Through-crack / Unknown — enter depth if measured |
| Pattern: | Map cracking / Linear / Branching / Isolated |
| Probable Cause: | e.g. plastic shrinkage, thermal, drying shrinkage, structural, settlement, restraint |
| Exposure Class: | Enter exposure class — affects allowable crack width per EC2 |
| Allowable Crack Width (mm): | Enter per EC2 Table 7.1N (e.g. 0.3mm for XC1, 0.2mm for XD/XS) |
| Crack Width Exceeds Limit: | Yes / No |
| Structural Engineer Notified: | Yes / No — mandatory if crack exceeds limits or is structural |
| Repair Method: | e.g. epoxy injection, resin sealing, monitoring only, structural investigation required |
| Photographs Taken: | Yes / No — enter photo references |

Monitoring Records

| Monitoring Method: | e.g. tell-tales, Demec studs, crack width gauge, digital calliper |
| --- | --- |
| Reading 1 — Date: | DD / MM / YYYY — Width (mm): |
| Reading 2 — Date: | DD / MM / YYYY — Width (mm): |
| Reading 3 — Date: | DD / MM / YYYY — Width (mm): |
| Reading 4 — Date: | DD / MM / YYYY — Width (mm): |
| Crack Stable / Propagating: | Enter assessment based on readings |
| Further Action Required: | Describe — continue monitoring / repair / structural assessment |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Site Engineer |  |  | DD / MM / YYYY |
| Structural Engineer |  |  | DD / MM / YYYY |
| QA Manager |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |