Concrete Temperature Monitoring Log

Log for recording concrete temperature during curing, particularly for massive pours, cold weather concreting, or hot weather concreting. Temperature monitoring ensures the concrete does not exceed thermal differential limits (typically 20°C between core and surface) which can cause thermal cracking. In accordance with BS EN 13670 and CIRIA C660.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Pour Reference: | Enter pour number |
| Element: | Enter structural element |
| Pour Date: | DD / MM / YYYY |
| Pour Volume (m³): | Enter total volume |
| Concrete Mix: | Enter mix designation |
| Thermocouple Locations: | Describe sensor positions (core, surface, ambient) — attach sketch |

Temperature Readings

| Maximum Permitted Core Temperature (°C): | Enter limit (typically 70°C) |
| --- | --- |
| Maximum Permitted Differential (°C): | Enter limit (typically 20°C core-to-surface) |
| Reading 1 — Date/Time: | Core (°C) / Surface (°C) / Ambient (°C) / Differential (°C) |
| Reading 2 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 3 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 4 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 5 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 6 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 7 — Date/Time: | Core / Surface / Ambient / Differential |
| Reading 8 — Date/Time: | Core / Surface / Ambient / Differential |
| Peak Core Temperature (°C): | Enter maximum recorded core temperature |
| Peak Core Temperature Time: | Enter time of peak |
| Peak Differential (°C): | Enter maximum recorded differential |
| All Readings Within Limits: | Yes / No — if No, describe actions taken |
| Insulation Removal Date: | DD / MM / YYYY — enter date insulation was removed (gradual removal recommended) |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Concrete Technologist |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| Structural Engineer |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |