Hydrostatic Test Record

Record of hydrostatic pressure testing for pipework systems, pressure vessels, and associated equipment. Completed as a permanent quality record in accordance with BS EN 13480-5 (Metallic industrial piping — Inspection and testing), ASME B31.3, PD 5500, BS EN 12952/12953 (boilers), and the project pressure testing specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Test Certificate No.: | Enter unique test certificate number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name / role |
| Approved By: | Name / role |

System / Test Section Details

| System / Line Reference: | Enter pipeline or system designation |
| --- | --- |
| Test Section Description: | Enter description of test section (from — to) |
| P&ID / Isometric Drawing Ref: | Enter drawing reference(s) |
| Pipe Material: | Enter material specification and grade |
| Pipe Size (NB / OD): | Enter nominal bore or outside diameter (mm) |
| Wall Thickness / Schedule: | Enter wall thickness (mm) or schedule |
| Design Pressure (barg): | Enter design pressure |
| Design Temperature (deg C): | Enter design temperature |
| Test Medium: | e.g. clean water, inhibited water, glycol solution |
| Approximate Test Volume (litres): | Enter calculated test volume |

Test Parameters and Equipment

| Test Pressure (barg): | Enter test pressure (typically 1.5x design pressure per BS EN 13480 / ASME B31.3) |
| --- | --- |
| Test Pressure Hold Duration: | Enter required hold time (e.g. 30 min, 1 hour, 2 hours) |
| Ambient Temperature (deg C): | Enter ambient temperature at time of test |
| Water Temperature (deg C): | Enter test medium temperature |
| Min. Permitted Test Temp. (deg C): | Enter minimum test temperature to avoid brittle fracture risk |
| Gauge Type: | e.g. Bourdon tube, digital transducer |
| Gauge Range (barg): | Enter gauge range (test pressure should be 25-75% of full scale) |
| Gauge Serial No.: | Enter gauge identification / serial number |
| Gauge Calibration Date: | Enter date of last calibration |
| Gauge Calibration Certificate Ref: | Enter calibration certificate reference |
| Pump Type: | e.g. hand pump, electric test pump |
| Pump Serial No. / ID: | Enter pump identification |

Pressure Reading Log

Record pressure gauge readings at regular intervals during the hold period (typically every 15 or 30 minutes, or as specified).

| No. | Time | Gauge 1 Reading (barg) | Gauge 2 Reading (barg) | Ambient Temp (°C) | Water Temp (°C) | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |

Test Results

| Test Start Date and Time: | DD / MM / YYYY at HH:MM |
| --- | --- |
| Test Pressure Achieved (barg): | Enter maximum pressure reached |
| Hold Period Start Time: | HH:MM |
| Hold Period End Time: | HH:MM |
| Total Hold Duration: | Enter actual duration |
| Pressure at End of Hold (barg): | Enter final pressure reading |
| Pressure Drop During Hold (bar): | Enter pressure loss (if any) |
| Allowable Pressure Drop (bar): | Enter allowable loss per specification |
| Leaks Detected: | Yes / No — if yes, describe location and action taken |
| Overall Test Result: | Pass / Fail |
| Depressurisation Method: | Describe controlled depressurisation procedure used |
| Disposal of Test Medium: | Describe method of disposal (e.g. to foul drain with approval, tanker removal) |

Declaration

We hereby certify that the above system / test section was hydrostatically tested in accordance with the specified test procedure and the results are as stated above. All test equipment was calibrated and within valid calibration dates. The system was visually inspected during the hold period and no leaks, weeps, or deformations were observed (unless noted above).

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Test Operator |  |  | DD / MM / YYYY |
| Pipework Supervisor / Foreman |  |  | DD / MM / YYYY |
| QC Inspector / Site Engineer |  |  | DD / MM / YYYY |
| Client / Third Party Witness |  |  | DD / MM / YYYY |
| Commissioning Engineer (if applicable) |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, pressure chart references, or details of any leaks found and rectified prior to successful retest.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |