| INSTRUMENT CALIBRATION RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Calibration Certificate No: | Enter unique certificate number |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents the calibration of a process instrument. Calibration must be carried out using a traceable reference standard of suitable accuracy. A 5-point up-and-down check (0%, 25%, 50%, 75%, 100% and return) is the standard method. Record 'as found' and 'as left' readings.

1. Instrument Details

| Instrument Tag Number: |  |
| --- | --- |
| P&ID Reference: |  |
| Instrument Description: | e.g. Pressure transmitter, level switch, flow meter, temperature sensor, pH analyser |
| Manufacturer: |  |
| Model: |  |
| Serial Number: |  |
| Measurement Type: | Pressure / Level / Flow / Temperature / pH / Conductivity / Turbidity / DO / Chlorine / Other |
| Range: | Enter range (e.g. 0–10 bar, 0–100%, 0–1000 l/s, 0–50°C) |
| Output Signal: | 4–20 mA / 0–10 V / HART / Profibus / Modbus / Digital / Switch contact / Other |
| Accuracy: | Enter per manufacturer spec (e.g. ±0.5% FS, ±0.1°C) |
| Allowable Error: | Enter max error per project specification |
| Supply Voltage: | 24 V DC / 110 V AC / 230 V AC / Loop powered / Battery |
| Location: | Describe installed location |
| Process Connection: | Describe: flange size, thread, tri-clamp, insertion etc. |

2. Reference Standard

| Reference Standard / Source: | Describe calibration reference (pressure gauge, decade box, RTD simulator, pH buffers, master flow meter) |
| --- | --- |
| Reference Make / Model: |  |
| Reference Serial Number: |  |
| Reference Calibration Date: | DD / MM / YYYY |
| Reference Certificate Ref: |  |
| Reference Accuracy: | Enter (must be at least 4x better than instrument under test) |
| Traceability: | UKAS / National Standard / Manufacturer |

3. Calibration Results (5-Point Up and Down)

Apply known input values at each calibration point. Record the expected output, as-found output, error, and as-left output after adjustment (if any).

| Point | Applied Input | Expected Output | As Found Output | Error | As Left Output | Pass / Fail |
| --- | --- | --- | --- | --- | --- | --- |
| 0% |  |  |  |  |  |  |
| 25% |  |  |  |  |  |  |
| 50% |  |  |  |  |  |  |
| 75% |  |  |  |  |  |  |
| 100% |  |  |  |  |  |  |
| 75% (down) |  |  |  |  |  |  |
| 50% (down) |  |  |  |  |  |  |
| 25% (down) |  |  |  |  |  |  |
| 0% (down) |  |  |  |  |  |  |

4. Switch / Alarm Set Points

Complete for instruments with switching or alarm functions.

| No. | Function | Set Point | Actual Trip | Reset Point | Pass / Fail |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

5. Calibration Result

| Calibration Result: | PASS / FAIL / Adjusted and PASS |
| --- | --- |
| Adjustment Required: | Yes / No (describe adjustment made) |
| Maximum Error Found: | Enter value and % of span |
| Maximum Error Within Allowable: | Yes / No |
| Calibration Sticker Applied: | Yes / No (date and next due date on sticker) |
| Next Calibration Due: | DD / MM / YYYY |
| Calibration Interval: | Enter months (typically 6 or 12 months) |

6. Ambient Conditions

| Ambient Temperature (°C): |  |
| --- | --- |
| Relative Humidity (%): |  |
| Barometric Pressure (mbar): | (relevant for pressure instrument calibration) |

7. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Calibration Technician |  |  |  |
| I&C Engineer |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

8. Notes / Additional Comments

Enter any additional notes or attach calibration charts / graphs

9. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |

References: BS EN ISO/IEC 17025 (calibration laboratory), UKAS, Manufacturer Calibration Procedure, Project Specification, ITP