| PRESSURE TEST CERTIFICATE |  |
| --- | --- |
| Certificate Number: | Enter unique certificate number |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This certificate records the results of a pressure test carried out on the system or pipeline described below. The test has been conducted in accordance with the applicable standard and contract specification. This certificate should be retained as part of the project quality records and H&S file.

1. System / Pipeline Details

| System / Pipeline Description: | Describe the system or pipeline section under test |
| --- | --- |
| System / Line Number: | Enter system or pipeline identification number |
| P&ID / Drawing Reference: | Enter relevant P&ID and isometric drawing numbers |
| Pipe Material: | e.g. Ductile iron, MDPE, steel, copper, stainless steel, uPVC |
| Pipe Diameter (mm): | Enter nominal bore or outside diameter |
| Pipe Length (m): | Enter total length of pipe under test |
| Wall Thickness / Class: | Enter wall thickness or pressure class |
| Joint Type: | e.g. Flanged, butt-welded, electrofusion, push-fit, mechanical |
| Design Pressure (bar): | Enter the system design / working pressure |
| Design Temperature (°C): | Enter the design temperature |
| Test Medium: | Water / Air / Nitrogen / Other (specify) |
| Location / Zone: | Enter location on site |
| Specification Reference: | Enter specification clause governing the pressure test |
| Test Standard: | e.g. BS EN 805, BS 6700, PD 8010, BS EN 13480, ASME B31.3, IGEM/TD/3 |

2. Test Parameters

| Test Pressure (bar): | Enter the applied test pressure (typically 1.5x design pressure for hydrostatic) |
| --- | --- |
| Test Duration: | Enter the required hold period (e.g. 1 hour, 2 hours, per specification) |
| Maximum Allowable Pressure Drop: | Enter allowable pressure loss per specification (bar or %) |
| Ambient Temperature (°C): | Enter ambient temperature at time of test |
| Water Temperature (°C): | Enter water temperature at time of test (if hydrostatic) |
| Test Gauge Type: | Analogue / Digital (state manufacturer and serial number) |
| Test Gauge Range: | Enter gauge range (should be 1.5x to 2x test pressure) |
| Test Gauge Calibration Date: | DD / MM / YYYY (must be within 12 months) |
| Calibration Certificate Ref: | Enter calibration certificate reference number |
| Test Pump Type: | Manual / Electric / Pneumatic (state make and model) |

3. Pressure Readings

Record pressure and temperature at the intervals specified in the test procedure.

| Time | Pressure (bar) | Temperature (°C) | Ambient Temp (°C) | Comments |
| --- | --- | --- | --- | --- |
| Start of pressurisation |  |  |  |  |
| Test pressure reached |  |  |  |  |
| 15 minutes |  |  |  |  |
| 30 minutes |  |  |  |  |
| 45 minutes |  |  |  |  |
| 60 minutes |  |  |  |  |
| 90 minutes (if applicable) |  |  |  |  |
| 120 minutes (if applicable) |  |  |  |  |
| End of test |  |  |  |  |
| After depressurisation |  |  |  |  |

4. Test Result

| Pressure at Start of Hold Period (bar): |  |
| --- | --- |
| Pressure at End of Hold Period (bar): |  |
| Pressure Drop During Hold Period (bar): |  |
| Allowable Pressure Drop (bar): |  |
| Test Result: | PASS / FAIL |
| If FAIL, describe the failure: | Location, type of leak, cause if known |
| Remedial Action Taken (if applicable): | Describe repair and confirm re-test carried out |
| Re-Test Certificate Number (if applicable): | Enter re-test certificate reference |

5. Declaration

We hereby certify that the pressure test described above has been carried out in accordance with the referenced specification and standard. The test equipment used was calibrated and suitable for purpose. The results are a true and accurate record of the test. The system described above has been found to be satisfactory and leak-free at the stated test pressure for the specified duration.

6. Sign-Off

By signing below, each party confirms they have witnessed or reviewed the test and accept the results as recorded.

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Test Engineer |  |  |  |
| Contractor Quality Manager |  |  |  |
| Contractor Site Manager |  |  |  |
| Client / Employer's Representative |  |  |  |
| Independent Witness (if required) |  |  |  |

7. Distribution

| Copy To | Organisation | No. of Copies |
| --- | --- | --- |

8. Notes / Additional Comments

Enter any additional notes here

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS EN 805, BS 6700, PD 8010, BS EN 13480, ASME B31.3, IGEM/TD/3, Water UK/WRc IGN 4-01-03, CDM 2015