Protective Coating Dry Film Thickness Log

Log of dry film thickness (DFT) measurements for each coat of the protective coating system. Completed per item, area, or batch to verify that the applied coating meets the specified film thickness. In accordance with BS EN ISO 2808 (Determination of film thickness), BS EN ISO 19840 (Measurement and acceptance criteria for DFT on rough surfaces), and the project coating specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Coating Contractor: | Enter coating / painting contractor name |
| Coating Specification Ref: | Enter specification document reference |
| Coating System: | Enter full system description (e.g. primer + intermediate + topcoat) |
| DFT Gauge Type: | e.g. Elcometer 456, PosiTector 6000 (magnetic / eddy current) |
| DFT Gauge Serial No.: | Enter gauge serial number |
| Gauge Calibration Date: | DD / MM / YYYY |
| Calibration Certificate Ref: | Enter calibration certificate reference |
| Prepared By: | Name / role |
| Approved By: | Name / role |

Legend

Coat: P = Primer, IC = Intermediate Coat, TC = Topcoat, SR = Stripe Coat. Record each coat on a separate row.

DFT readings: Take a minimum of 5 spot readings per measurement area (per BS EN ISO 19840). Individual readings should not fall below 80% of specified NDFT. Average must meet or exceed specified NDFT.

Pass criteria: Average DFT >= specified nominal DFT; no individual reading < 80% of nominal DFT; no reading exceeds maximum permitted DFT (typically 3x nominal or per product data sheet).

DFT Measurement Log

| No. | Item / Area | Coat | Product Name | Colour | Batch No. | Spec DFT (μm) | Rdg 1 | Rdg 2 | Rdg 3 | Rdg 4 | Rdg 5 | Avg DFT (μm) | Pass / Fail | Inspector | Date | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Guidance Notes

1. DFT must be measured after each coat has cured to the manufacturer minimum overcoat time. Do not measure WFT in lieu of DFT.

2. Calibrate the gauge on a smooth uncoated surface or calibration foils on the substrate before each measurement session.

3. Where DFT is below specification, apply additional material and re-measure. Where DFT exceeds maximum, consult the coating manufacturer for advice on adhesion and cure.

4. On rough surfaces (blasted steel), apply the correction factor per BS EN ISO 19840 using a correction value based on the surface profile.

5. Stripe coats on edges, welds, corners, and bolt heads must be applied and measured separately before the full coat.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Coating Applicator / Foreman |  |  | DD / MM / YYYY |
| Coating Inspector (NACE / ICORR / FROSIO) |  |  | DD / MM / YYYY |
| QC Inspector / Site Engineer |  |  | DD / MM / YYYY |
| Client / Third Party Inspector |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, product data sheet references, ambient condition records, or details of areas requiring additional coating here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |