Slump Test Record Sheet

Record sheet for concrete slump tests carried out on site at point of delivery. Slump testing is a routine quality control measure to verify the consistence (workability) of concrete before placement. In accordance with BS EN 12350-2 (Testing fresh concrete — Slump test) and BS 8500.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Pour Location: | Enter element being poured |
| Concrete Supplier: | Enter ready-mix plant |

Slump Test Records

| Delivery Ticket No.: | Enter ticket number |
| --- | --- |
| Mix Designation: | Enter BS 8500 designation |
| Specified Consistence Class: | e.g. S1, S2, S3, S4, S5 |
| Target Slump (mm): | Enter target slump value |
| Tolerance (+/- mm): | Enter permitted tolerance per BS EN 206 (typically +/- 30mm for S3) |
| Measured Slump (mm): | Enter actual slump measurement |
| Type of Slump: | True / Shear / Collapse — describe observed slump type |
| Result: | Pass / Fail — within tolerance |
| Time of Test: | HH:MM |
| Ambient Temperature (°C): | Enter air temperature |
| Concrete Temperature (°C): | Enter concrete temperature if measured |
| Tested By: | Enter tester name and competency |
| Action if Failed: | Describe action — reject load, add water within limits, return to plant |

Additional Tests (If Carried Out)

| Air Content Test (BS EN 12350-7): | Enter result (%) if applicable |
| --- | --- |
| Density Test (BS EN 12350-6): | Enter fresh density (kg/m³) if measured |
| Temperature Check: | Enter temperature and confirm within limits (<30°C, >5°C) |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Concrete Tester |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| Concrete Foreman |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |