| ISOLATION AND LOCK-OFF RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Permit Number: | Enter associated permit to work number (if applicable) |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents the isolation and lock-off of energy sources before work on equipment or systems. Isolation must follow a safe system of work in accordance with the Electricity at Work Regulations 1989, HSE GS38 and the site LOTO (Lock Out / Tag Out) procedure. Every person working on the isolated equipment must apply their own personal lock. No lock may be removed except by the person who applied it (or by an authorised override procedure).

1. Isolation Details

| Equipment / System to be Isolated: | Enter tag number and description |
| --- | --- |
| P&ID / Drawing Reference: |  |
| Location: |  |
| Reason for Isolation: | Maintenance / Repair / Modification / Testing / Commissioning / Decommissioning |
| Energy Source(s): | Electrical / Mechanical / Pneumatic / Hydraulic / Chemical / Thermal / Gravitational / Stored energy |
| Isolation Type: | Electrical isolation / Valve isolation / Mechanical lock / Combination |
| Associated Permit(s): | Enter permit to work numbers (hot works, confined space, etc.) |
| Planned Duration: | From: DD/MM/YYYY HH:MM To: DD/MM/YYYY HH:MM |
| Authorised Person (Isolation): | Name and qualification |

2. Isolation Points

Record every isolation device operated. Each must be locked and tagged.

| No. | Isolation Point / Device | Tag / Ref | Lock No. | Isolated Position | Proved Dead / Depressurised |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |

3. Lock-Off Procedure Checklist

| No. | Lock-Off Procedure Step | Done | N/A | Initials |
| --- | --- | --- | --- | --- |
| 1 | Risk assessment completed for isolation activity |  |  |  |
| 2 | All affected personnel notified of planned isolation |  |  |  |
| 3 | Equipment shut down using normal operating procedure |  |  |  |
| 4 | All energy sources identified (electrical, mechanical, pneumatic, hydraulic, thermal, stored) |  |  |  |
| 5 | Isolation devices operated to OFF / CLOSED / OPEN (as required to isolate) |  |  |  |
| 6 | Isolation devices locked with personal padlock(s) and tagged |  |  |  |
| 7 | Stored energy dissipated (capacitors discharged, pressure vented, springs released, elevated loads lowered) |  |  |  |
| 8 | Pipework drained and depressurised (where applicable) |  |  |  |
| 9 | Proved dead using approved voltage indicator / pressure gauge (test before and after) |  |  |  |
| 10 | Voltage indicator proved against known live source before and after use (GS38 compliant) |  |  |  |
| 11 | Danger tags and caution notices applied at all isolation points |  |  |  |
| 12 | All locks and tags recorded on this document |  |  |  |
| 13 | Affected area / equipment safe to work on confirmed |  |  |  |
| 14 | Person(s) carrying out work briefed on isolation arrangements |  |  |  |

4. Lock Holders Register

Every person working on the isolated equipment must apply their own personal padlock and sign below.

| No. | Person Holding Lock | Company | Lock Number | Date Applied | Date Removed | Signature |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

5. De-Isolation / Reinstatement

Complete this section only when all work is finished and all personnel are clear.

| All work complete and area cleared: | Yes / No |
| --- | --- |
| All personnel accounted for and clear of equipment: | Yes / No |
| All locks and tags removed: | Yes / No |
| Guards and safety devices refitted: | Yes / No |
| Equipment inspected before re-energisation: | Yes / No |
| Affected personnel notified of reinstatement: | Yes / No |
| Equipment re-energised / recommissioned: | Yes / No |
| De-isolation Date and Time: | DD / MM / YYYY HH:MM |
| De-isolation Authorised By: | Name and signature |

6. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Authorised Person (Isolation) |  |  |  |
| Competent Person (Electrical / Mechanical) |  |  |  |
| Responsible Person (Work Activity) |  |  |  |
| Site Manager |  |  |  |

7. Notes / Additional Comments

Enter any additional notes or attach isolation diagram / sketch

8. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |

References: Electricity at Work Regulations 1989, HSE GS38, HSE HSG253 (safe isolation), HSE INDG236, CDM 2015, Site LOTO Procedure, Permit to Work System