| WORKING OVER OR NEAR WATER METHOD STATEMENT COVER |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This cover sheet accompanies the method statement for any work carried out over, in or adjacent to water where there is a risk of drowning. Drowning is a leading cause of death on construction sites. A comprehensive rescue plan must be in place before work commences. This document supports compliance with CDM 2015, MHSW Regulations 1999, and HSE guidance.

1. Work Details

| Description of Work: | Describe the activity to be carried out over or near water |
| --- | --- |
| Location: | Describe location: river, canal, reservoir, lake, dock, coastal, chamber, tank |
| Water Body Name: |  |
| Water Depth (approx.): | Enter estimated depth (m) |
| Water Flow Rate: | Still / Slow / Medium / Fast / Tidal (describe) |
| Tidal Conditions (if applicable): | Describe tidal range, times, and impact on work |
| Water Temperature (approx.): | Enter estimated temperature |
| Water Contamination: | Clean / Sewage / Industrial / Chemical / Unknown |
| Working Platform: | Bank / Pontoon / Barge / Scaffold / Temporary bridge / MEWP / Other |
| Distance from Water Edge: | Enter minimum distance (m) between work area and water |
| Duration of Works: | Start and end dates |
| Working Hours: | State working hours including any restrictions (e.g. tidal windows) |
| Number of Persons at Risk: |  |

2. Pre-Work Checklist

All items must be confirmed before work over or near water commences. Any 'No' must be resolved first.

| No. | Pre-Work Check Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Risk assessment specific to working near or over water completed and briefed |  |  |  |
| 2 | Method statement prepared, reviewed and briefed to all personnel |  |  |  |
| 3 | Can the work be done without working over or near water? (if Yes, use alternative method) |  |  |  |
| 4 | Edge protection installed at all edges adjacent to water (minimum 950mm guard rail + toe board) |  |  |  |
| 5 | Barriers and warning signs in place to prevent unauthorised access to water edge |  |  |  |
| 6 | Rescue equipment positioned at water edge (life buoys, throw lines, reaching poles) |  |  |  |
| 7 | Life buoys with minimum 30m throw line positioned at max 25m intervals along water edge |  |  |  |
| 8 | Buoyancy aids / life jackets provided and worn by all persons within 2m of unprotected edge |  |  |  |
| 9 | Buoyancy aids suitable for conditions (auto-inflate, manual, permanent buoyancy per BS EN ISO 12402) |  |  |  |
| 10 | Rescue boat or powered craft available (if water depth > 1.5m and current present) |  |  |  |
| 11 | Rescue team identified, trained and in position (minimum 2 persons trained in water rescue) |  |  |  |
| 12 | Rescue plan prepared and briefed to all personnel |  |  |  |
| 13 | Communication system established between work team and rescue team |  |  |  |
| 14 | Weather and water conditions assessed and within safe limits |  |  |  |
| 15 | Tidal conditions checked and work scheduled within safe window (if applicable) |  |  |  |
| 16 | Lighting adequate for safe working (if working in darkness or poor visibility) |  |  |  |
| 17 | First aid provision includes hypothermia treatment capability |  |  |  |
| 18 | All persons briefed on cold water shock, hypothermia risks and self-rescue techniques |  |  |  |
| 19 | Emergency services pre-notified (coastguard, RNLI, fire service water rescue as appropriate) |  |  |  |
| 20 | All plant and equipment secured against falling into water |  |  |  |
| 21 | Pollution prevention measures in place (spill kit, drip trays, bunded fuel) |  |  |  |
| 22 | EA / NRW notified if works affect watercourse (permits, consents, fish rescue as required) |  |  |  |
| 23 | Ecological constraints identified and mitigated (fish, otter, water vole, nesting birds) |  |  |  |
| 24 | Permit to work issued (if required by site rules) |  |  |  |
| 25 | Toolbox talk delivered and attendance recorded |  |  |  |

3. Rescue Plan Summary

A detailed rescue plan must be prepared and in place before work commences.

| Rescue Method: | Self-rescue / Bank rescue (throw line) / Boat rescue / In-water rescue |
| --- | --- |
| Rescue Equipment Location: | Describe location of all rescue equipment |
| Rescue Team Members: | Names and water rescue qualifications |
| Communication Method: | Radio / whistle / visual signals |
| Estimated Rescue Response Time: | Enter estimated time to reach casualty in water |
| Nearest Hospital with A&E: | Name, address, travel time |
| Emergency Services Contact: | 999 / Coastguard: 999 / EA: 0800 80 70 60 |
| Hypothermia Treatment Available: | Foil blankets, warm dry clothing, warm drinks (not alcohol) |

4. Sign-Off

By signing, each party confirms the method statement, risk assessment and rescue plan are adequate and all precautions are in place.

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By (Author) |  |  |  |
| Site Manager / Agent |  |  |  |
| H&S Manager |  |  |  |
| Client Representative (if required) |  |  |  |

5. Notes / Additional Comments

Enter any additional notes here

6. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: CDM 2015, MHSW Regs 1999, HSE EIS40, BS EN ISO 12402 (buoyancy aids/life jackets), Water Resources Act 1991, EA Environmental Permitting Regs, CIRIA C624