| WORKING AT HEIGHT PERMIT |  |
| --- | --- |
| Permit Number: | Enter unique permit number |
| Revision: | Enter revision number |
| Date Issued: | DD / MM / YYYY |
| Permit Valid From: | DD / MM / YYYY and start time |
| Permit Valid Until: | DD / MM / YYYY and end time |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This permit is issued in accordance with the Work at Height Regulations 2005, LOLER 1998, PUWER 1998, and CDM 2015. No work at height may commence without a valid, signed permit and completion of all precautions listed herein.

1. Work at Height Details

| Location of Work: | Describe exact location, floor/level, elevation, zone or grid reference |
| --- | --- |
| Description of Work: | Describe the work activity to be carried out at height |
| Height of Working Platform / Position: | Enter height above ground or lower level (metres) |
| Duration of Work at Height: | Estimated start and finish times |
| Number of Persons Working at Height: | Enter maximum number at any one time |
| Access Equipment / System: | Scaffold / MEWP / Podium / Ladder / Roof ladder / Safety net / Harness and line / Edge protection / Other |
| Equipment Reference / Tag Number: | Enter scaffold tag, MEWP ID or equipment reference |
| Scaffold Inspection Current: | Yes / No (date of last inspection per TG20/SG4) |
| MEWP Pre-Use Check Completed: | Yes / No / N/A |
| Fall Protection System: | Guard rails / Safety nets / Harness with fall arrest / Harness with restraint / Airbags / Soft landing / Other |
| Rescue Plan in Place: | Yes / No (describe rescue arrangements if harness system used) |
| Responsible Person on Site: | Name, employer and contact number |

2. Hierarchy of Control Assessment

The Work at Height Regulations 2005 Schedule 2 requires the following hierarchy to be applied. Document the assessment below.

| 1. Can the work be avoided at height? | Yes / No — If Yes, describe alternative method |
| --- | --- |
| 2. Can a safer platform be used (scaffold, MEWP, podium)? | Yes / No — If Yes, describe platform selected |
| 3. Are collective fall prevention measures in place (guard rails, edge protection)? | Yes / No — If Yes, describe measures |
| 4. Are collective fall mitigation measures in place (safety nets, airbags)? | Yes / No / N/A — If Yes, describe measures |
| 5. Is personal fall protection required (harness, restraint, fall arrest)? | Yes / No — If Yes, describe system and anchor points |
| Justification for Chosen Method: | Explain why this method is the most appropriate considering the hierarchy |

3. Pre-Work Checklist

All items must be confirmed before work at height commences. Any 'No' answer must be resolved before the permit is signed.

| No. | Pre-Work Check Item | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1 | Risk assessment completed specific to this working at height activity (WAH Regs 2005 Reg 6) |  |  |  |
| 2 | Method statement reviewed and briefed to all personnel |  |  |  |
| 3 | Hierarchy of control applied and documented (WAH Regs 2005 Schedule 2) |  |  |  |
| 4 | All persons working at height are competent and trained for the task and equipment |  |  |  |
| 5 | Access equipment inspected and found fit for use (scaffold per TG20, MEWP per manufacturer) |  |  |  |
| 6 | Scaffold has current inspection tag (within 7 days per WAH Regs Schedule 7) |  |  |  |
| 7 | MEWP pre-use inspection completed and documented |  |  |  |
| 8 | Ladders inspected and suitable for the task (only where other methods not reasonably practicable) |  |  |  |
| 9 | Edge protection installed to all open edges, floor openings and stairwells (minimum 950mm top rail) |  |  |  |
| 10 | Toe boards installed (minimum 150mm) where materials could fall |  |  |  |
| 11 | Brick guards / debris netting installed where risk of falling objects |  |  |  |
| 12 | Exclusion zone established below the work area and barriers/signs in place |  |  |  |
| 13 | Wind speed checked and within safe limits for equipment (typically 17 mph for MEWPs) |  |  |  |
| 14 | Weather conditions assessed (rain, ice, lightning, visibility) |  |  |  |
| 15 | Harnesses inspected by competent person and within thorough examination date (LOLER / PUWER) |  |  |  |
| 16 | Anchor points identified, load-rated and suitable for the fall arrest system |  |  |  |
| 17 | Lanyards / inertia reels inspected and compatible with anchor point |  |  |  |
| 18 | Rescue plan prepared for persons suspended following a fall (suspension trauma risk) |  |  |  |
| 19 | Rescue equipment available and team briefed |  |  |  |
| 20 | Materials and tools secured against falling (tool tethering, material containment) |  |  |  |
| 21 | Emergency procedures briefed including alarm, evacuation and first aid |  |  |  |
| 22 | Permit displayed at point of work |  |  |  |
| 23 | All personnel wearing appropriate PPE (hard hat with chinstrap, harness, non-slip footwear) |  |  |  |
| 24 | Fragile surface / roof assessment completed (if applicable, per WAH Regs Reg 9) |  |  |  |
| 25 | Crawling boards / staging provided over fragile surfaces (if applicable) |  |  |  |

4. Risk Assessment Summary

| No. | Hazard | Control Measure | Risk (H/M/L) | Responsible |
| --- | --- | --- | --- | --- |
| 1 | Fall from height | Edge protection, guard rails, harness system, exclusion zone | H |  |
| 2 | Falling objects | Toe boards, brick guards, debris nets, tool tethering, exclusion zone below | H |  |
| 3 | Scaffold collapse | Design per TG20, competent erection, 7-day inspections, load limits observed | H |  |
| 4 | MEWP overturn | Firm level ground, outriggers deployed, wind limits observed, trained operator | H |  |
| 5 | Ladder slip / fall | Three points of contact, secured at top, correct angle 75°, footed | M |  |
| 6 | Fragile roof / surface | Crawling boards, warning signs, exclusion zones, purlin marking | H |  |
| 7 | Suspension trauma (post-fall) | Rescue plan, prompt rescue within 10 minutes, trauma straps | H |  |
| 8 | Adverse weather | Wind monitoring, cease work above limits, ice/rain assessment | M |  |
| 9 | Contact with overhead services | Survey, safe clearance, goal posts, spotters | H |  |
| 10 | Unauthorised access to height | Ladder locks, scaffold gate locked, MEWP key control | M |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |
| 13 |  |  |  |  |

5. Emergency and Rescue Procedures

| In the event of a fall: | Activate rescue plan immediately, deploy rescue equipment, do not leave person suspended longer than 10 minutes (suspension trauma risk), call 999, administer first aid |
| --- | --- |
| In the event of falling object injury: | Evacuate exclusion zone, administer first aid, call 999 if serious, secure area, report under RIDDOR if applicable |
| Rescue method: | Describe: self-rescue / MEWP rescue / winch/retrieval system / emergency services |
| Rescue equipment location: | Enter location of rescue kit |
| Nearest hospital / A&E: | Name, address and estimated travel time |
| Emergency contacts: | 999 / Site emergency: [enter] / First aider: [enter] |

6. Permit Authorisation

By signing below, each person confirms they have reviewed this permit, understand the hazards and controls, and are satisfied that safe work at height can proceed.

| Role | Print Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Permit Applicant |  |  |  |
| Site Supervisor / Foreman |  |  |  |
| Scaffold Supervisor (if applicable) |  |  |  |
| Site Manager / Agent |  |  |  |

7. Permit Close-Out

To be completed when work at height is finished or the permit is cancelled.

| Work Completed: | Yes / No |
| --- | --- |
| Equipment Removed / Secured: | Yes / No |
| Area Reinstated and Safe: | Yes / No |
| Incidents or Near Misses: | Yes / No (if Yes, complete separate report) |
| Permit Closed By: | Name and signature |
| Close-Out Date and Time: | DD / MM / YYYY and time |

8. Notes / Additional Comments

Enter any additional notes, observations or comments here

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: Work at Height Regulations 2005, LOLER 1998, PUWER 1998, CDM 2015, INDG401, TG20, SG4, BS EN 354/355/360/361/362/795