| COMMISSIONING RECORD SHEET |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Equipment: | Enter system name, tag number or equipment identifier |
| Location / Zone: | Enter location on site |
| Discipline: | Mechanical / Electrical / MEICA / HVAC / Process / Other |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record sheet documents the commissioning of a system or equipment item. It must be completed by the commissioning engineer and signed off by all designated parties before the system is accepted for handover. Pre-commissioning checks must be completed before commissioning tests commence.

1. System / Equipment Details

| System Description: | Describe the system or equipment being commissioned |
| --- | --- |
| Equipment Tag Number(s): | List all equipment tag numbers within this commissioning scope |
| Manufacturer: | Equipment manufacturer name |
| Model / Type: | Equipment model or type reference |
| Serial Number(s): | Enter serial numbers |
| Design Specification: | Enter specification reference for the system |
| Drawing Reference(s): | Enter relevant P&ID, GA, schematic or wiring drawing numbers |
| O&M Manual Reference: | Enter O&M manual section or volume reference |
| Installation Contractor: | Name of installing subcontractor |
| Commissioning Engineer: | Name and company of commissioning engineer |
| Commissioning Specification: | Enter commissioning specification or procedure reference |

2. Pre-Commissioning Checklist

All items must be confirmed before commissioning tests commence. Any 'No' must be resolved first.

| No. | Pre-Commissioning Check | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Installation complete and signed off on installation record |  |  |  |
| 2 | All punch list / snagging items cleared or agreed for deferral |  |  |  |
| 3 | Visual inspection of equipment completed satisfactorily |  |  |  |
| 4 | Alignment and levelling checks completed and recorded |  |  |  |
| 5 | All mechanical fixings torqued to specification |  |  |  |
| 6 | Piping / ductwork pressure tested and leak-free |  |  |  |
| 7 | Flushing and cleaning completed (if applicable) |  |  |  |
| 8 | Electrical installation tested and certificates available (BS 7671) |  |  |  |
| 9 | Instrumentation calibrated and certificates available |  |  |  |
| 10 | Control panel wiring checked against schematic |  |  |  |
| 11 | All safety devices installed, tested and set (relief valves, trips, interlocks) |  |  |  |
| 12 | Isolation and lock-off procedures in place for commissioning |  |  |  |
| 13 | Lubrication completed per manufacturer's requirements |  |  |  |
| 14 | Temporary construction items removed (blanks, strainers, bypasses — or agreed to retain) |  |  |  |
| 15 | Guards and covers fitted and secure |  |  |  |
| 16 | Labelling and tagging complete |  |  |  |
| 17 | O&M manuals and as-built drawings available at commissioning location |  |  |  |
| 18 | Commissioning procedure reviewed and briefed to team |  |  |  |
| 19 | Risk assessment for commissioning activities completed |  |  |  |
| 20 | Energisation / start-up permit obtained (if required) |  |  |  |

3. Commissioning Test Results

Record each test carried out, the design value, measured value and result. Add rows as needed.

| No. | Test / Parameter | Design Value | Measured Value | Pass / Fail | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |

4. Set Points and Parameters

Record all set points, alarm values and control parameters as commissioned.

| No. | Parameter / Set Point | Design Value | As-Set Value | Tolerance | Instrument ID |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |

5. Outstanding Items / Punch List

Record any items outstanding at the time of commissioning that must be completed before handover.

| No. | Outstanding Item | Priority (A/B/C) | Responsible Party | Target Date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

6. Overall Commissioning Result

| Overall Commissioning Result: | Pass / Conditional Pass / Fail |
| --- | --- |
| Conditions (if Conditional Pass): | Describe any conditions that must be met |
| System Ready for Handover: | Yes / No |
| Comments: | Enter any additional observations |

7. Sign-Off

By signing below, each party confirms the commissioning has been carried out in accordance with the commissioning specification and the results are accurately recorded.

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Commissioning Engineer |  |  |  |
| Contractor Site Manager |  |  |  |
| Contractor Quality Manager |  |  |  |
| Client / Employer's Representative |  |  |  |
| Equipment Manufacturer (if required) |  |  |  |

8. Notes / Additional Comments

Enter any additional notes here

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: Commissioning Specification, BS 7671, BS EN ISO 9001, BSRIA Commissioning Guides, CIBSE Commissioning Codes, CDM 2015