| CABLE PULL SCHEDULE AND TEST RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Area: | Enter electrical system or area reference |
| Drawing Reference: | Enter cable layout / SLD drawing number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record combines the cable pull schedule with insulation resistance (IR) and continuity test results. All cables must be tested after installation and before termination in accordance with BS 7671. IR testing must be carried out using a calibrated insulation resistance tester (Megger) at the appropriate test voltage for the cable rating.

1. Status Key

| Code | Status |
| --- | --- |
| P | Pulled — Cable installed, awaiting testing |
| T | Tested — IR and continuity tests passed |
| F | Failed — Test failed, investigation required |
| C | Connected — Terminated and connected at both ends |
| L | Live — Energised and in service |

2. Cable Pull Schedule and Test Results

Record each cable installation and test result. IR test minimum values per BS 7671: 500V test for LV circuits ≥ 1 MΩ. Continuity: record ohmic value.

| No. | Cable Ref | From | To | Cable Type | Size (mm²) | No. Cores | Length (m) | Drum No. | Date Pulled | IR Test (MΩ) | Cont. Test | Date Tested | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |

3. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Electrical Supervisor |  |  |  |
| Electrical Engineer |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

4. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS 7671 (IET Wiring Regulations), BS EN 60228 (conductors), ITP, Electrical Installation Certificate (EIC), Cable Manufacturer TDS