| CABLE SCHEDULE AND TERMINATION RECORD |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| System / Area: | Enter electrical system or area reference |
| Drawing Reference: | Enter cable schedule / SLD drawing number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record combines the cable schedule with installation, testing and termination records. Each cable is tracked from scheduling through pulling, pre-termination testing, termination at both ends, post-termination testing and final completion. All testing must comply with BS 7671.

1. Status Key

| Code | Status |
| --- | --- |
| S | Scheduled — On cable schedule, not yet pulled |
| P | Pulled — Cable installed, awaiting testing |
| T | Tested — IR and continuity tests passed (pre-termination) |
| TA | Terminated End A — One end terminated |
| TB | Terminated Both Ends — Both ends terminated |
| M | Meggered Post-Term — IR test passed after termination |
| C | Complete — Fully terminated, tested and labelled |
| F | Failed — Test failed, investigation required |

2. Cable Schedule, Test and Termination Register

Track each cable through the full lifecycle. Mark dates or tick for each stage. IR Test: min 1 MΩ at 500V for LV per BS 7671.

| No. | Cable Ref | From | To | Type | Cores | Size mm² | Length m | Drum | Pulled | IR Test MΩ | Term End A | Term End B | Torque | Megger Post | Tested By | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

3. Termination Quality Checklist

Use this checklist as a quality reference for each termination activity.

| No. | Termination Check | Done | N/A | Initials |
| --- | --- | --- | --- | --- |
| 1 | Cable cores correctly identified and labelled (ferrules / markers) |  |  |  |
| 2 | Correct lug or terminal type used for conductor size |  |  |  |
| 3 | Crimps made with correct tool and die for lug size |  |  |  |
| 4 | All terminations torqued to manufacturer / terminal specification |  |  |  |
| 5 | Torque values recorded (attach torque record if required) |  |  |  |
| 6 | Cable glands correctly sized, installed and tightened (IP rating maintained) |  |  |  |
| 7 | Cable gland earthing tag connected (SWA / armour earthing) |  |  |  |
| 8 | Cable armour earthed at both ends (or single point as specified for instrumentation) |  |  |  |
| 9 | Cable screen earthed at one end only (instrument cables per specification) |  |  |  |
| 10 | Spare cores identified, insulated and terminated to spare terminals or labelled |  |  |  |
| 11 | Cable labelled at both ends with permanent cable markers |  |  |  |
| 12 | Cable dressed neatly in panel / enclosure with adequate bending radius maintained |  |  |  |
| 13 | No damage to cable insulation during termination |  |  |  |
| 14 | Phase rotation verified (for 3-phase cables) |  |  |  |
| 15 | IR test completed after termination (post-termination Megger) |  |  |  |

4. Sign-Off

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Electrical Supervisor |  |  |  |
| Electrical Engineer |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

5. Notes / Additional Comments

Enter any additional notes

6. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |

References: BS 7671 (18th Edition), BS EN 60228, BS 6346, BS 5467, Cable Manufacturer TDS, Project Specification, ITP