DSEAR Assessment Template

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# 1. Assessment Scope and Location

| Area / Process Assessed: | Describe the area, plant, or process being assessed |
| --- | --- |
| Location: | Enter specific location on site |
| Assessment Date: | DD / MM / YYYY |
| Assessor(s): | Enter names and qualifications |

# 2. Dangerous Substances Inventory

List all dangerous substances present or likely to be present in the area, including flammable gases, liquids, dusts, and any substance that could create an explosive atmosphere.

| No. | Substance Name | Type | Flash Point | LEL / UEL | Max Qty on Site | SDS Available |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |
| 2 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |
| 3 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |
| 4 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |
| 5 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |
| 6 |  | Gas / Liquid / Dust / Mist |  |  |  | Yes / No |

# 3. Sources of Release

| No. | Source of Release | Substance Released | Release Grade | Frequency / Duration |
| --- | --- | --- | --- | --- |
| 1 |  |  | Continuous / Primary / Secondary |  |
| 2 |  |  | Continuous / Primary / Secondary |  |
| 3 |  |  | Continuous / Primary / Secondary |  |
| 4 |  |  | Continuous / Primary / Secondary |  |
| 5 |  |  | Continuous / Primary / Secondary |  |

Release Grade: Continuous = release expected in normal operation. Primary = release expected periodically or occasionally. Secondary = release not expected in normal operation, infrequent and short duration.

# 4. Hazardous Area Zone Classification

| Zone | Atmosphere Type | Definition |
| --- | --- | --- |
| Zone 0 | Gas / Vapour | Explosive atmosphere present continuously or for long periods (> 1000 hrs/year) |
| Zone 1 | Gas / Vapour | Explosive atmosphere likely to occur in normal operation occasionally (10–1000 hrs/year) |
| Zone 2 | Gas / Vapour | Explosive atmosphere not likely in normal operation; if it occurs, for short period only (< 10 hrs/year) |
| Zone 20 | Dust | Explosive dust cloud present continuously or for long periods |
| Zone 21 | Dust | Explosive dust cloud likely to occur occasionally in normal operation |
| Zone 22 | Dust | Explosive dust cloud not likely in normal operation; if it occurs, for short period only |

# 5. Zone Assessment for Each Area

| No. | Area / Location | Substance | Zone Classified | Zone Extent (m) | Equipment Group | T Class |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |
| 2 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |
| 3 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |
| 4 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |
| 5 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |
| 6 |  |  | 0 / 1 / 2 / 20 / 21 / 22 |  | IIA / IIB / IIC | T1–T6 |

# 6. Ignition Source Assessment

| No. | Potential Ignition Source | Zone Where Present | Risk Rating | Control Measures |
| --- | --- | --- | --- | --- |
| 1 | Hot surfaces |  | H / M / L / N/A |  |
| 2 | Flames and hot gases |  | H / M / L / N/A |  |
| 3 | Mechanically generated sparks |  | H / M / L / N/A |  |
| 4 | Electrical equipment / sparks |  | H / M / L / N/A |  |
| 5 | Stray currents / cathodic protection |  | H / M / L / N/A |  |
| 6 | Static electricity |  | H / M / L / N/A |  |
| 7 | Lightning |  | H / M / L / N/A |  |
| 8 | Electromagnetic radiation |  | H / M / L / N/A |  |
| 9 | Hot work activities |  | H / M / L / N/A |  |

# 7. Control Measures Summary

Measures to Eliminate or Reduce Dangerous Substances:

Describe substitution, reduction in quantity, ventilation, containment, or other elimination measures.

Measures to Prevent Explosive Atmospheres:

Describe ventilation, inerting, gas detection, concentration monitoring, or other prevention measures.

Measures to Prevent Ignition of Explosive Atmospheres:

Describe selection of ATEX-rated equipment, hot work controls, earthing and bonding, PPE, permit systems.

Measures to Mitigate Effects of Fire or Explosion:

Describe explosion relief, suppression, isolation, fire detection, emergency procedures, escape routes.

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| DSEAR Assessor |  |  |  |
| Reviewed By |  |  |  |
| Project Manager |  |  |  |

# Notes / Additional Comments

Regulatory References: DSEAR 2002, ATEX Directive 2014/34/EU (ATEX 114), ATEX Directive 1999/92/EC (ATEX 137), BS EN 60079-10-1 (Gas), BS EN 60079-10-2 (Dust), HSE ACOP L138.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |