Scaffold Permit to Dismantle

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

This permit must be completed and authorised BEFORE any scaffold dismantling commences. Partial or full dismantling without an authorised permit is prohibited. The scaffold must be confirmed as no longer required by all affected trades before dismantling is authorised.

# Section 1: Scaffold Details

| Scaffold Ref / Tag: | Enter reference | Location: | Enter location |
| --- | --- | --- | --- |
| Scaffold Type: | Enter type | Height: | Enter metres |
| Scaffold Company: | Enter contractor | Erection Date: | DD / MM / YYYY |
| Dismantling Type: | Full dismantle / Partial dismantle – describe extent |  |  |

# Section 2: Pre-Dismantle Checks

| No. | Check Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | All trades confirmed scaffold is no longer required for their works |  |  |  |
| 2 | Scaffold coordinator has approved the dismantling request |  |  |  |
| 3 | RAMS for dismantling reviewed and briefed to the dismantling team |  |  |  |
| 4 | All materials, tools, and equipment removed from scaffold platforms |  |  |  |
| 5 | Exclusion zone established below and around the scaffold |  |  |  |
| 6 | Adjacent scaffolds, structures, and services will not be affected |  |  |  |
| 7 | Scaffold tag changed to RED and access points barriered |  |  |  |
| 8 | All scaffold users notified that scaffold is out of service |  |  |  |
| 9 | Weather conditions suitable for safe dismantling (wind < 17 m/s) |  |  |  |
| 10 | Competent CISRS-carded erectors assigned to carry out dismantling |  |  |  |
| 11 | Method of lowering materials agreed (not throwing from height) |  |  |  |
| 12 | Banksman / traffic management in place if adjacent to roadway |  |  |  |
| 13 | Overhead power lines clearance confirmed (if applicable) |  |  |  |
| 14 | Rescue plan in place for the dismantling operation |  |  |  |

# Section 3: Affected Trades Confirmation

All trades who have used or may need the scaffold must confirm it is no longer required before dismantling is authorised.

| No. | Trade / Company | Name | Confirmed No Longer Required | Signature | Date |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | Yes / No |  |  |
| 2 |  |  | Yes / No |  |  |
| 3 |  |  | Yes / No |  |  |
| 4 |  |  | Yes / No |  |  |
| 5 |  |  | Yes / No |  |  |

# Section 4: Authorisation to Dismantle

| Dismantling Authorised: | Yes / No |
| --- | --- |
| Authorised Start Date / Time: | DD / MM / YYYY HH:MM |
| Estimated Completion: | DD / MM / YYYY HH:MM |

# Section 5: Dismantling Completion

| Dismantling Completed: | DD / MM / YYYY HH:MM |
| --- | --- |
| Area Cleared and Made Safe: | Yes / No |
| Tie Holes Made Good: | Yes / No / N/A |
| Scaffold Materials Removed: | Yes / No |
| TW Register Updated / Closed: | Yes / No |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Dismantling Requested By |  |  |  |
| Scaffold Coordinator (Authorised) |  |  |  |
| Scaffold Supervisor (Dismantling) |  |  |  |
| Site Manager (Completion Confirmed) |  |  |  |

# Notes / Additional Comments

Regulatory References: Work at Height Regulations 2005, NASC SG4:22, BS EN 12811, CDM 2015.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |