Scaffold Loading Calculation Request

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

This form requests a bespoke scaffold loading calculation or TG20 compliance check where the scaffold falls outside standard TG20 parameters, or where non-standard loading is required. Complete all sections and issue to the scaffold designer via the scaffold coordinator.

# Section 1: Scaffold Information

| Scaffold Ref / Tag: | Enter reference | Location: | Enter location |
| --- | --- | --- | --- |
| Scaffold Type: | e.g. Independent tied, birdcage, cantilever, system, loading bay |  |  |
| Scaffold Company: | Enter contractor | System Type: | e.g. Tube and fitting, HAKI, Layher, Cuplok |
| Overall Height: | Enter in metres | No. of Lifts: | Enter number |
| Overall Length: | Enter in metres | Overall Width: | Enter in metres |
| Bay Spacing: | Enter in metres | Lift Height: | Enter in metres |

# Section 2: Reason for Loading Calculation

Tick all that apply:

☐ Scaffold exceeds TG20:21 standard configuration limits

☐ Non-standard loading required (above Class 3 or specific point loads)

☐ Loading bay or material hoist installation

☐ Cantilevered or bridged scaffold section

☐ Sheeted or netted scaffold requiring wind load assessment

☐ Scaffold supporting temporary roof or weather protection

☐ Scaffold adjacent to or over public highway

☐ Scaffold supporting access bridge or gantry

☐ Scaffold on sloping ground or non-standard foundation

☐ Scaffold with ties to structure of uncertain capacity

☐ Other (describe below)

Additional details:

Provide further detail on why the calculation is required and any specific concerns.

# Section 3: Loading Requirements

| Required Loading Class: | Class 1 (0.75 kN/m²) / 2 (1.50) / 3 (2.00) / 4 (3.00) / 5 (4.00) / 6 (6.00) / Bespoke |
| --- | --- |
| No. of Loaded Lifts: | Enter number of platforms to be loaded simultaneously |
| Point Loads: | Describe any concentrated loads: e.g. gin wheel (500 kg), hoist motor (200 kg), davit arm |
| Material Storage: | Describe materials to be stored on platforms: type, quantity, weight per unit |
| Plant / Equipment: | Any plant to be operated from scaffold: describe type and weight |
| Sheeting / Netting: | Monarflex / debris net / brick guard / solid hoarding – describe extent |
| Temporary Roof: | Yes / No – describe if applicable (type, span, snow load consideration) |

# Section 4: Site Conditions and Constraints

| Foundation Type: | e.g. Concrete slab, compacted ground, paving, suspended slab |
| --- | --- |
| Ground Bearing Capacity: | Enter if known (kN/m²) or state Unknown |
| Tie Structure Type: | e.g. Concrete frame, masonry, steel, cladding rails – describe condition |
| Tie Capacity Concerns: | Any concerns about tie anchor capacity or structure condition? |
| Wind Exposure: | Sheltered / Normal / Exposed – site altitude (m AOD): |
| Adjacent Hazards: | Overhead lines, excavations, vehicle movements, public access |

# Section 5: Sketch / Elevation

Attach or draw a sketch showing scaffold elevation, plan, tie positions, loading bay locations, and any non-standard features. Indicate dimensions and loading positions.

# Attached Documents

| No. | Document Title | Reference | Revision | Date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Request Prepared By |  |  |  |
| Scaffold Coordinator |  |  |  |
| Issued to Designer |  |  |  |

# Notes / Additional Comments

Regulatory References: NASC TG20:21, BS EN 12811, BS EN 12810, Work at Height Regulations 2005, CDM 2015.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |