Scaffold Post-Adverse-Weather Inspection

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# Weather Event Details

| Weather Event: | High wind / Heavy rain / Snow / Ice / Lightning / Flooding / Storm / Other |  |  |
| --- | --- | --- | --- |
| Date / Time of Event: | DD / MM / YYYY HH:MM | Duration: | Enter approximate duration |
| Max Wind Speed (if known): | Enter m/s or mph | Rainfall (if known): | Enter mm or describe |
| Scaffold Ref(s) Inspected: | List all scaffold tag references inspected |  |  |

| Inspector Name: | Enter name | CISRS Card No.: | Enter card number |
| --- | --- | --- | --- |
| Inspection Date: | DD / MM / YYYY | Inspection Time: | HH:MM |

# Inspection Checklist

All scaffolds must be inspected before re-use following adverse weather. Mark Yes (satisfactory), No (defective), or N/A. Any item marked No must be actioned before the scaffold is returned to use.

| No. | Inspection Item | Yes | No | N/A | Action |
| --- | --- | --- | --- | --- | --- |
| Structural Integrity |  |  |  |  |  |
| 1 | Standards plumb and not displaced or leaning |  |  |  |  |
| 2 | Ledgers level and securely connected |  |  |  |  |
| 3 | Transoms in correct position with boards fully supported |  |  |  |  |
| 4 | All bracing in place and undamaged |  |  |  |  |
| 5 | Ties intact and secure – no pull-out or loosening detected |  |  |  |  |
| 6 | Tie fixings to structure showing no signs of damage or movement |  |  |  |  |
| 7 | Base plates and sole boards in position, not washed out or undermined |  |  |  |  |
| 8 | Couplers tight – check sample with torque spanner |  |  |  |  |
| 9 | No signs of overall scaffold movement or racking |  |  |  |  |

| Edge Protection and Platforms |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 10 | Guardrails, mid-rails, and toe boards in place and undamaged |  |  |  |  |
| 11 | Platforms fully boarded with no displaced or damaged boards |  |  |  |  |
| 12 | Ladder access secure and undamaged |  |  |  |  |
| 13 | Brick guards and debris netting intact and secure |  |  |  |  |

| Sheeting, Loading Bays and Access |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 14 | Sheeting / monarflex secure with no tearing or loosening (if applicable) |  |  |  |  |
| 15 | Loading bay gates operational and secure |  |  |  |  |
| 16 | Gin wheel / hoist secure and rope undamaged |  |  |  |  |

| Platforms and Surfaces |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17 | No accumulation of water, snow, or ice on platforms |  |  |  |  |
| 18 | No debris or loose materials blown onto platforms |  |  |  |  |

| Foundations and Ground |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 19 | Foundation / ground conditions stable – no washout, erosion, or flooding |  |  |  |  |
| 20 | Adjacent ground showing no signs of movement or instability |  |  |  |  |

| Signage and Barriers |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 21 | Scaffold signage and inspection tags in place and legible |  |  |  |  |
| 22 | Exclusion zone barriers and signage undamaged |  |  |  |  |

# Defects Identified

| No. | Defect | Action Required | By Whom | Target | Closed |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

# Inspection Outcome

| Scaffold Safe for Use: | Yes / No / Conditional (defects to be rectified first) |
| --- | --- |
| Green Tag Reinstated: | Yes / No – Date / Time: |
| If No, Red Tag Applied: | Yes – access barriered and users notified |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Scaffold Inspector (CISRS) |  |  |  |
| Scaffold Coordinator |  |  |  |

# Notes / Additional Comments

Regulatory References: Work at Height Regulations 2005 Reg. 12(3), NASC TG20:21, BS EN 12811, CDM 2015 Schedule 4.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |