Crane Pad and Hardstanding Inspection

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# Crane and Pad Details

| Crane Type / Model: | Enter crane details | Max Ground Bearing Pressure: | Enter kN/m² or kPa |
| --- | --- | --- | --- |
| Crane SWL (Config.): | Enter tonnage | Outrigger Load (Max): | Enter kN per leg |
| Pad Location: | Enter grid ref / area | Pad Dimensions: | L x W x Depth (m) |
| TW Register Ref: | Enter TW number | Design Reference: | Enter design ref |
| Inspector Name: | Enter name | Inspection Date: | DD / MM / YYYY |

# Inspection Checklist

Mark each item Yes (satisfactory), No (defective), or N/A. The crane must not be positioned on the pad until all applicable items are marked Yes and the TWC has issued a permit to load.

| No. | Inspection Item | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| Ground and Design Compliance |  |  |  |  |  |
| 1 | Ground bearing capacity confirmed by design calculation or geotechnical assessment |  |  |  |  |
| 2 | Hardstanding constructed in accordance with temporary works design |  |  |  |  |
| 3 | Pad dimensions meet or exceed crane manufacturer’s requirements |  |  |  |  |
| 4 | Pad thickness and construction layers match design specification |  |  |  |  |

| Surface and Level |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 | Surface is level within tolerance specified by crane manufacturer |  |  |  |  |
| 6 | No signs of settlement, deformation, or rutting on pad surface |  |  |  |  |
| 7 | Drainage adequate – no standing water on or immediately around the pad |  |  |  |  |
| 8 | No excavations, trenches, or voids within the influence zone of the pad |  |  |  |  |

| Services and Outriggers |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 9 | Buried services identified and confirmed clear of pad footprint and outrigger positions |  |  |  |  |
| 10 | Outrigger positions clearly marked on pad surface |  |  |  |  |
| 11 | Outrigger mats / spreader plates available and correctly sized |  |  |  |  |
| 12 | Timber packing and dunnage available if required |  |  |  |  |

| General Condition |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 13 | Pad surface free from loose material, debris, and contamination |  |  |  |  |
| 14 | No surcharge loading within influence zone unless accounted for in design |  |  |  |  |
| 15 | Adjacent slopes stable and within safe distance of pad edge |  |  |  |  |
| 16 | Ground conditions consistent with design assumptions (no recent heavy rain softening) |  |  |  |  |

| Monitoring and Access |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17 | Monitoring points installed (if required by design) and baseline readings taken |  |  |  |  |
| 18 | Access route to pad adequate for crane mobilisation (width, gradients, turning radii) |  |  |  |  |
| 19 | Overhead clearances confirmed (power lines, structures, trees) |  |  |  |  |
| 20 | Pad area fenced or barriered to prevent unauthorised access or loading |  |  |  |  |

| Documentation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 21 | TW design certificate and check certificate available on site |  |  |  |  |
| 22 | Crane pad included on TW Register with current permit to load |  |  |  |  |

# Defects Identified

| No. | Defect | Action Required | By Whom | Target Date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

# Inspection Outcome

| Crane Pad Fit for Use: | Yes / No |
| --- | --- |
| If No, state reason: | Enter details |
| Permit to Load Issued: | Yes / No – Ref: |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector |  |  |  |
| Temporary Works Coordinator |  |  |  |
| Appointed Person (Lifting) |  |  |  |

# Notes / Additional Comments

Regulatory References: BS 7121 (Safe Use of Cranes), BS 5975:2019, LOLER 1998, CDM 2015, BRE Digest 426 (The Response of Structures to Ground Movements).

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |