TWC Role and Responsibilities Card

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No.: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# TWC Appointment Details

| TWC Name: | Enter full name |
| --- | --- |
| Job Title: | Enter job title |
| Qualifications: | e.g. CITB TWC Training, CIRIA TW qualification, degree |
| Date of Appointment: | DD / MM / YYYY |
| Appointed By: | Enter name and role of appointing manager |
| Deputy TWC (if appointed): | Enter name or state N/A |

# Purpose of This Card

This card sets out the role, responsibilities, and authority of the Temporary Works Coordinator (TWC) on this project, in accordance with BS 5975:2019 and the project Temporary Works Procedure. The TWC must carry this card on site at all times and must be familiar with all responsibilities listed.

# Core Responsibilities

## 1. Temporary Works Register

- Establish, maintain, and keep up to date the Temporary Works Register for the project

- Ensure all temporary works items are identified, categorised, and recorded on the register

- Close out register entries only when temporary works have been safely dismantled or incorporated into permanent works

## 2. Design Management

- Ensure all temporary works are designed by a competent person

- Ensure all Category 2 and 3 designs are independently checked before use

- Confirm design briefs are adequate and include all necessary loading and site information

- Ensure design certificates and check certificates are received and filed before installation

## 3. Permits and Approvals

- Issue permits to load temporary works only after satisfactory completion inspection

- Issue permits to dismantle temporary works only when the permanent works can safely support themselves

- Ensure no temporary works are loaded, altered, or dismantled without proper authorisation

## 4. Inspections and Monitoring

- Carry out or arrange completion inspections of all temporary works before they are loaded

- Arrange regular inspections during use, particularly after adverse weather or ground movement

- Ensure inspection records are maintained and any defects are actioned promptly

- Monitor that temporary works are being used within their design parameters

## 5. Briefing and Communication

- Brief all relevant personnel on temporary works requirements before installation

- Ensure installation teams have the correct design information and method statements

- Communicate any design changes or constraints to the site team

- Deliver or arrange Temporary Works Awareness Briefings as required

## 6. Reporting and Escalation

- Report all temporary works activities and status at project progress meetings

- Escalate any concerns about temporary works safety or non-compliance immediately to the Project Manager

- Stop work if any temporary works are found to be unsafe, overloaded, or not in accordance with the design

# Authority

The TWC has the authority to stop any work involving temporary works if they believe it to be unsafe. The TWC has the authority to refuse to issue a permit to load or permit to dismantle if they are not satisfied that the temporary works are safe. This authority is supported by the Project Manager and senior management.

# Acknowledgement

I confirm that I have read and understood the responsibilities set out in this card. I accept the role of Temporary Works Coordinator for this project and confirm that I am competent to carry out the duties described.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Temporary Works Coordinator |  |  |  |
| Appointing Manager / PM |  |  |  |

# Notes / Additional Comments

Regulatory References: BS 5975:2019, CDM 2015 Regulation 15, CIRIA C779, company Temporary Works Procedure.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| 01 |  | Initial issue |  |  |