## Cover
EBRORA
ebrora.com
Water Discharge Monitoring Log
Monitor water discharge quality against permit limits with automatic compliance checks.
Designed for EA/NRW discharge consent compliance on UK construction sites.
This is a free template from Ebrora.
For our full range of professional-grade construction management tools, visit ebrora.com
© Ebrora 2026 — All rights reserved

## Instructions
How to Use This Template
1. | Open the 'Discharge Monitoring' sheet. The top section shows your permit limits and a compliance summary.
2. | Set your discharge permit limits in the Permit Limits table (row 4). These are the maximum allowable concentrations for each parameter.
3. | Log each sampling event in the monitoring table below. Enter the date, sampling point, and measured values for pH, TSS, oil/grease, and turbidity.
4. | The Compliance column auto-calculates: PASS if all parameters are within limits, FAIL if any exceed. Failed readings turn red automatically.
5. | Expand the optional columns to record the sampler name, lab reference, weather conditions, and follow-up actions.
6. | The summary dashboard counts total samples, passes, fails, and calculates your compliance rate as a percentage.
7. | Export or print the log for inclusion in your environmental file or for submission to the Environment Agency.
Colour Key
Light teal — user input / editable
Dark navy — headers, do not edit
Green — PASS (within permit limits)
Red — FAIL (permit limit exceeded)
Amber — approaching limit (≥80% of threshold)
Tips
• | Sample at the same time of day for consistency — ideally during peak discharge.
• | Always take a background/upstream sample alongside your discharge sample for comparison.
• | If a FAIL is recorded, notify the site environmental manager immediately and implement corrective measures.

## Discharge Monitoring
WATER DISCHARGE MONITORING LOG
PERMIT LIMITS |  | pH (min) | pH (max) | TSS (mg/L) | Oil (mg/L) | Turbidity (NTU) |  | Compliance Summary
Limits → |  | 6 | 9 | 30 | 5 | 50 |  | Total Samples: | 5 | Compliance Rate: | 80%
[8 empty] | Pass: | 4 | Fail: | 1
Ref | Date | Sampling Point | pH | TSS (mg/L) | Oil (mg/L) | Turbidity (NTU) | Compliance | Sampled By | Weather | Lab Ref | Action / Notes
WD-001 | 2026-03-02 | Outfall 1 | 7.2 | 18 | 2.1 | 35 | PASS | M. Khan | Dry | LAB-2026-041
WD-002 | 2026-03-02 | Upstream Background | 7.4 | 8 | 0.5 | 12 | PASS | M. Khan | Dry | LAB-2026-042 | Background reference sample
WD-003 | 2026-03-09 | Outfall 1 | 7 | 42 | 3.8 | 65 | FAIL | J. Williams | Heavy Rain | LAB-2026-055 | Exceedance during storm — settlement pond overtopped
WD-004 | 2026-03-09 | Settlement Pond | 6.8 | 28 | 2.5 | 45 | PASS | J. Williams | Heavy Rain | LAB-2026-056 | Post-storm reading from pond outlet
WD-005 | 2026-03-16 | Outfall 1 | 7.3 | 15 | 1.8 | 30 | PASS | M. Khan | Overcast | LAB-2026-068 | Normal operations, within limits

## Terms of Use (hidden)
EBRORA — TERMS OF USE
This template is provided free of charge by Ebrora (ebrora.com) for personal and professional use.
1. LICENCE: You may use this template for your own projects. You may not resell, redistribute, or claim authorship of this template.
2. NO WARRANTY: This template is provided "as is" without warranty of any kind. Ebrora accepts no liability for errors, omissions, or losses arising from use of this template.
3. INTELLECTUAL PROPERTY: All design, layout, branding, and content remain the intellectual property of Ebrora.
4. MODIFICATIONS: You may modify this template for your own use. Modified versions may not be distributed or sold.
5. ATTRIBUTION: If you share outputs generated using this template, attribution to Ebrora (ebrora.com) is appreciated but not required.
6. SUPPORT: For queries, feedback, or to report errors, contact support@ebrora.com.
For our full range of professional construction management tools, visit ebrora.com.