## Cover
EBRORA
ebrora.com
Dust / Noise Monitoring Record
Record monitoring readings at fixed points with automatic threshold exceedance alerts.
Designed for BS 5228 / Section 61 compliance on UK construction projects.
This is a free template from Ebrora.
For our full range of professional-grade construction management tools, visit ebrora.com
© Ebrora 2026 — All rights reserved

## Instructions
How to Use This Template
1. | Open the 'Monitoring Record' sheet. It has two main sections: Dust Monitoring (top) and Noise Monitoring (below).
2. | Each section has a header area where you define your monitoring points (MP-01, MP-02, etc.) and their trigger/action levels (thresholds).
3. | Enter daily readings in the monitoring grid. Each column is a date, each row is a monitoring point. Fill in the measured value.
4. | Readings that exceed the trigger level turn amber automatically. Readings that exceed the action level turn red.
5. | The summary column on the right shows the maximum reading, average, and number of exceedances for each monitoring point.
6. | Update the project name, site address, and monitoring period in the header fields at the top of the sheet.
7. | Print the sheet as a weekly or fortnightly monitoring summary for your Section 61 / environmental file.
Colour Key
Light teal — user input / editable
Dark navy — headers, do not edit
Green — reading within acceptable limits
Amber — trigger level exceeded (investigate)
Red — action level exceeded (stop / mitigate immediately)
Tips
• | Calibrate monitoring equipment before each monitoring session and record calibration details.
• | Place dust monitors upwind and downwind of the works to establish a background reading.
• | For noise, take readings at the nearest sensitive receptor (NSR) location, not at the site boundary.

## Monitoring Record
Project Name: | Example Infrastructure Project |  |  |  |  | Monitoring Period: |  | March 2026
Site Address: | London Road, Swindon, SN1 2AA |  |  |  |  | Monitored By: |  | EcoMonitor Ltd
DUST MONITORING — PM10 (µg/m³)
Monitoring Point | Trigger (µg/m³) | 2026-03-02 | 2026-03-03 | 2026-03-04 | 2026-03-05 | 2026-03-06 | 2026-03-07 | 2026-03-08 | 2026-03-09 | 2026-03-10 | 2026-03-11 | 2026-03-12 | 2026-03-13 | 2026-03-14 | 2026-03-15 | Max
MP-01 | 190 | 82 | 95 | 110 | 88 | 76 | 145 | 130 | 92 | 78 | 85 | 200 | 170 | 95 | 88 | 200
MP-02 | 190 | 65 | 70 | 80 | 72 | 68 | 98 | 105 | 75 | 62 | 70 | 155 | 120 | 78 | 65 | 155
MP-03 | 190 | 90 | 105 | 125 | 98 | 85 | 160 | 175 | 110 | 88 | 95 | 210 | 195 | 105 | 92 | 210
MP-04 | 190 | 55 | 60 | 68 | 58 | 52 | 75 | 82 | 60 | 50 | 55 | 95 | 80 | 62 | 55 | 95
MP-05 | 190 | 70 | 78 | 92 | 82 | 72 | 115 | 125 | 85 | 68 | 75 | 180 | 150 | 82 | 70 | 180
NOISE MONITORING — LAeq,T (dB)
Monitoring Point | Limit (dB) | 2026-03-02 | 2026-03-03 | 2026-03-04 | 2026-03-05 | 2026-03-06 | 2026-03-07 | 2026-03-08 | 2026-03-09 | 2026-03-10 | 2026-03-11 | 2026-03-12 | 2026-03-13 | 2026-03-14 | 2026-03-15 | Max
NMP-01 | 75 | 68 | 72 | 70 | 69 | 65 | 74 | 76 | 71 | 67 | 70 | 73 | 72 | 69 | 68 | 76
NMP-02 | 75 | 62 | 65 | 63 | 60 | 58 | 70 | 72 | 64 | 60 | 63 | 68 | 66 | 62 | 60 | 72
NMP-03 | 70 | 58 | 62 | 60 | 57 | 55 | 68 | 71 | 63 | 56 | 60 | 65 | 64 | 58 | 56 | 71
NMP-04 | 70 | 55 | 58 | 56 | 54 | 52 | 62 | 65 | 58 | 53 | 56 | 60 | 58 | 55 | 53 | 65

## Terms of Use (hidden)
EBRORA — TERMS OF USE
This template is provided free of charge by Ebrora (ebrora.com) for personal and professional use.
1. LICENCE: You may use this template for your own projects. You may not resell, redistribute, or claim authorship of this template.
2. NO WARRANTY: This template is provided "as is" without warranty of any kind. Ebrora accepts no liability for errors, omissions, or losses arising from use of this template.
3. INTELLECTUAL PROPERTY: All design, layout, branding, and content remain the intellectual property of Ebrora.
4. MODIFICATIONS: You may modify this template for your own use. Modified versions may not be distributed or sold.
5. ATTRIBUTION: If you share outputs generated using this template, attribution to Ebrora (ebrora.com) is appreciated but not required.
6. SUPPORT: For queries, feedback, or to report errors, contact support@ebrora.com.
For our full range of professional construction management tools, visit ebrora.com.