## Cover
EBRORA
ebrora.com
Asbestos Register / Awareness Log
Record and manage known and suspected asbestos-containing materials on site — track condition, risk, management actions, and review dates.
This is a free template from Ebrora. For our full range of professional-grade construction management tools, visit ebrora.com
© Ebrora 2026 — All rights reserved

## Instructions
How to Use This Template
Getting Started
1. | Go to the “Asbestos Register” tab. Each row records one identified or presumed asbestos-containing material (ACM) on site.
2. | Enter the Date Identified and the Location/Building where the ACM is found (e.g. “Block A, Boiler Room, Pipe Lagging above false ceiling”).
3. | Describe the Material (e.g. “Pipe insulation lagging”, “Floor tiles 300x300mm”, “Textured coating (Artex) to ceiling”, “Cement sheet roof panels”).
4. | Select the ACM Type: Chrysotile (white asbestos — most common), Amosite (brown), Crocidolite (blue — most dangerous), Presumed (not yet sampled), or Unknown.
5. | Assess the Condition: Good (intact, sealed, no damage), Fair (minor surface damage but not releasing fibres), Poor (significant damage, friable), or Damaged (actively releasing fibres — requires immediate action).
6. | Assign a Risk Score: Low (good condition, low likelihood of disturbance), Medium (fair condition or moderate disturbance potential), High (poor condition or high disturbance likelihood), or Very High (damaged and accessible — immediate action required).
7. | Set the Management Action: Monitor (leave in place, re-inspect regularly), Encapsulate (seal surface), Enclose (box in), Remove (licensed removal required for most ACM types), or No Action (confirmed non-asbestos after sampling).
8. | Enter the Responsible Person and set the Next Review Date. ACM condition must be reviewed at regular intervals — typically every 6–12 months depending on risk.
9. | Expand optional columns for: Survey Report Ref, Sample/Lab Ref, Quantity/Area, Access Restrictions, Removal Contractor, and Notes.
10. | The dashboard auto-calculates total ACMs, condition and risk breakdowns, items due for review, removal actions, and presumed vs confirmed counts.
Colour Key
• | Light teal cells = User input / editable fields.
• | Dark navy headers = Column headers. Do not edit.
• | Condition: Green = Good, Amber = Fair, Red = Poor, Dark Red = Damaged.
• | Risk Score: Green = Low, Amber = Medium, Red = High, Dark Red = Very High.
• | Management Action “Remove” = Red highlight (licensed removal needed).
• | Red in Review Date = Overdue for review. Amber = Due within 30 days.
Legal Context
• | The Control of Asbestos Regulations 2012 (Regulation 4) place a duty on the person responsible for maintenance of non-domestic premises to manage asbestos. This includes identifying ACMs, assessing condition and risk, and maintaining a register.
• | Any work with asbestos (except minor work with certain low-risk materials) must be carried out by a licensed contractor holding an HSE asbestos licence.
• | All persons who may disturb ACMs during their work must receive asbestos awareness training (Category A) as a minimum. This includes maintenance workers, electricians, plumbers, and demolition operatives.
Tips
• | If in doubt, presume it’s asbestos until proven otherwise by laboratory analysis. Mark it as “Presumed” and treat it accordingly.
• | This register must be made available to anyone who is liable to disturb ACMs during their work. Keep a copy in the site safety file, at the site entrance, and with the principal contractor.
• | Review the register before any refurbishment or demolition work. A Refurbishment & Demolition (R&D) survey may be required in addition to a Management survey.

## Asbestos Register
ASBESTOS REGISTER / AWARENESS LOG |  |  |  | Total ACMs: | 5 |  | Reviews Overdue: | 1
|  |  |  | Good: | 1 | Fair: | 1 | Poor: | 2
|  |  |  | Risk — Low: | 1 | Medium: | 1 | High: | 2
|  |  |  | Very High Risk: | 1 |  | Requiring Removal: | 3
|  |  |  | Presumed (unconfirmed): | 1 |  | Reviews Due (30 days): | 1
|  |  |  | Damaged: | 1
▸ Optional Fields — Click [+] to expand
ACM Ref No. | Date Identified | Location / Building | Material Description | ACM Type | Condition Rating | Risk Score | Management Action | Responsible Person | Next Review Date | Survey Report Ref | Sample / Lab Ref | Quantity / Area (m²) | Access Restrictions (Y/N) | Removal Contractor | Notes
ACM-001 | 2026-01-10 | Block A, Boiler Room, Pipe runs above false ceiling | Pipe insulation lagging to heating pipework (50mm dia, grey fibrous material) | Amosite | Fair | Medium | Encapsulate | R. Thomas | 2026-07-10 | MS-2026-001 (Management Survey) | LAB-2026-0041 | 12.5 | Yes |  | Encapsulated with PVA sealant 15/01/2026. Labelled. Access restricted to authorised persons only.
ACM-002 | 2026-01-10 | Block A, Ground Floor, Corridor ceiling throughout | Textured decorative coating (Artex-type) to ceiling, approx 3mm thick | Chrysotile | Good | Low | Monitor | R. Thomas | 2027-01-10 | MS-2026-001 | LAB-2026-0042 | 85 | No |  | Good condition. Intact and sealed with overcoat of emulsion paint. Low risk if undisturbed. Do not drill, sand, or scrape.
ACM-003 | 2026-01-10 | Block B, Roof, External fascia and soffit panels | Cement sheet panels (grey, corrugated profile) to roof fascia | Chrysotile | Poor | High | Remove | R. Thomas | 2026-04-10 | MS-2026-001 | LAB-2026-0043 | 45 | Yes | Aspect Asbestos Ltd (HSE Licence L1234) | Panels weathered and cracking. Licensed removal scheduled for April 2026 during planned roof works. Area barriered.
ACM-004 | 2026-02-05 | External, South Boundary, Old substation base slab | Presumed ACM — debris around base slab including possible gasket material and rope seals | Presumed | Poor | High | Remove | R. Thomas | 2026-04-30 | R&D Survey pending |  | 2 | Yes | TBC — awaiting R&D survey results | Discovered during site clearance. Area fenced off. R&D survey commissioned 10/02/2026. No works in this area until survey complete.
ACM-005 | 2026-03-01 | Block A, Level 1, Electrical riser cupboard | Asbestos insulating board (AIB) partition panel inside riser, 1200x2400mm | Amosite | Damaged | Very High | Remove | R. Thomas | 2026-03-15 | MS-2026-001 | LAB-2026-0044 | 2.9 | Yes | Aspect Asbestos Ltd (HSE Licence L1234) | CRITICAL. Panel damaged during M&E survey — corner broken, fibres visible. Area sealed and locked. Air monitoring installed. Emergency licensed removal arranged for w/c 16/03/2026.

## Terms of Use (hidden)
EBRORA — TERMS OF USE
This template is provided free of charge by Ebrora (ebrora.com) for personal and professional use.
1. LICENCE: You may use this template for your own projects. You may not resell, redistribute, or claim authorship of this template.
2. NO WARRANTY: This template is provided "as is" without warranty of any kind. Ebrora accepts no liability for errors, omissions, or losses arising from use of this template.
3. INTELLECTUAL PROPERTY: All design, layout, branding, and content remain the intellectual property of Ebrora.
4. MODIFICATIONS: You may modify this template for your own use. Modified versions may not be distributed or sold.
5. ATTRIBUTION: If you share outputs generated using this template, attribution to Ebrora (ebrora.com) is appreciated but not required.
6. SUPPORT: For queries, feedback, or to report errors, contact support@ebrora.com.
For our full range of professional construction management tools, visit ebrora.com.