Silt Management Inspection Checklist

| Document Ref: | Enter document reference |
| --- | --- |
| Inspection Date: | DD/MM/YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Weather (Last 24hrs): | Dry / Light rain / Heavy rain / Prolonged rain |
| Inspected By: | Enter name and position |
| Inspection Type: | Routine daily / Post-rainfall / Weekly / Incident response |

## A. Silt Fences and Sediment Barriers

| No. | Inspection Item | Good | Action | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Silt fences intact and upright along full length |  |  |  |  |
| 2 | Silt fence fabric not torn, sagging, or detached from posts |  |  |  |  |
| 3 | Silt fence toe buried correctly (minimum 150mm into ground) |  |  |  |  |
| 4 | No gaps, undermining, or bypass around ends of silt fences |  |  |  |  |
| 5 | Accumulated silt removed before reaching one-third of fence height |  |  |  |  |
| 6 | Straw bale barriers (where used) intact and correctly positioned |  |  |  |  |
| 7 | Sandbag check dams in ditches/channels intact and not displaced |  |  |  |  |
| 8 | Additional silt barriers deployed where new runoff pathways identified |  |  |  |  |

## B. Settlement Tanks, Lagoons, and Treatment

| No. | Inspection Item | Good | Action | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 9 | Settlement tanks or lagoons not overflowing or bypassed |  |  |  |  |
| 10 | Settlement tank / lagoon capacity sufficient for current conditions |  |  |  |  |
| 11 | Settled silt removed from tanks / lagoons before capacity exceeded |  |  |  |  |
| 12 | Pumped discharge water visually clear before entering any watercourse or drain |  |  |  |  |
| 13 | Flocculant dosing system (where used) operating correctly and at correct dosage |  |  |  |  |
| 14 | Discharge monitoring carried out – turbidity / suspended solids within permit limits |  |  |  |  |
| 15 | No direct discharge of untreated water to any watercourse or surface drain |  |  |  |  |

## C. Drainage and Watercourse Protection

| No. | Inspection Item | Good | Action | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 16 | All surface drains within works area covered or protected |  |  |  |  |
| 17 | Drain covers, neoprene mats, or drain guards in place and functioning |  |  |  |  |
| 18 | No silt-laden water observed entering any drain or gully |  |  |  |  |
| 19 | Cut-off ditches and bunds directing runoff to settlement system |  |  |  |  |
| 20 | Watercourse buffer zones maintained (minimum 10m or as specified) |  |  |  |  |
| 21 | No storage of materials, soil, or waste within watercourse buffer zone |  |  |  |  |
| 22 | Watercourse visual check – no discolouration or turbidity downstream of site |  |  |  |  |
| 23 | Temporary culverts and crossing points clear and unobstructed |  |  |  |  |

## D. Earthworks, Stockpiles, and Exposed Ground

| No. | Inspection Item | Good | Action | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 24 | Exposed soil surfaces minimised – progressive reinstatement where possible |  |  |  |  |
| 25 | Stockpiles located away from watercourses and drainage routes |  |  |  |  |
| 26 | Stockpiles covered or seeded if remaining in place for extended period |  |  |  |  |
| 27 | Stockpile drainage managed – silt fences or bunds around base |  |  |  |  |
| 28 | Haul roads maintained and not generating excessive silt in wet conditions |  |  |  |  |
| 29 | Wheel wash operating effectively and washwater managed (not discharged to drain) |  |  |  |  |
| 30 | Road sweeper used to prevent mud and silt on public highways |  |  |  |  |

## E. Dewatering Operations

| No. | Inspection Item | Good | Action | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 31 | Dewatering discharge treated through settlement before release |  |  |  |  |
| 32 | Discharge point location agreed and not causing erosion or flooding |  |  |  |  |
| 33 | Environmental permit or exemption in place for any discharge to watercourse |  |  |  |  |
| 34 | Pumped water quality visually acceptable (clear, no oil sheen, no odour) |  |  |  |  |
| 35 | Pump intake positioned to avoid drawing silt from excavation base |  |  |  |  |

# Actions Required

| No. | Action Description | Location | Priority | Due Date | Responsible |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# Inspection Summary

| Items Rated Good: |  |
| --- | --- |
| Items Requiring Action: |  |
| Items N/A: |  |
| Overall Silt Control Status: | Satisfactory / Action Required / Urgent Action Required |
| Next Inspection Due: | DD/MM/YYYY |

# Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector |  |  |  |
| Environmental Manager |  |  |  |
| Site Manager |  |  |  |

# Notes / Additional Comments

Enter additional notes. Attach photographs of silt control measures and any discharge monitoring results.

# Document Control - Revision History

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |