Safe System of Work for Confined Space Entry

Health & Safety – Confined Spaces

This Safe System of Work (SSOW) has been prepared in accordance with the Confined Spaces Regulations 1997 and HSE Approved Code of Practice L101 ‘Safe work in confined spaces’. No person shall enter a confined space unless a suitable and sufficient assessment of the risks has been carried out and a safe system of work has been established.

| Document Ref: | Enter document reference (e.g. SSOW-CS-001) |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Prepared By: | Enter name and role |
| Approved By: | Enter name and role |

# Confined Space Details

| Confined Space Identification: | e.g. Manhole MH-23, Tank T-5, Chamber CH-12, culvert |
| --- | --- |
| Location: | Enter exact location on site (grid reference, chainage, drawing ref) |
| Type of Confined Space: | e.g. Manhole, chamber, tank, vessel, pipe, trench, silo, culvert |
| Dimensions (approx.): | Enter internal dimensions (L x W x D or diameter x depth) |
| Access Type: | e.g. Vertical shaft, horizontal opening, manhole cover, hatch |
| Access Dimensions: | Enter opening size (mm) |
| Previous Contents / Use: | e.g. Sewage, chemicals, fuel, water, new construction (never in service) |
| Known Hazards: | e.g. H₂S, methane, low oxygen, flooding, silt, electrical, mechanical |

# Reason for Entry

Entry to a confined space must only take place if the work cannot be done from outside. Confirm below.

Can the work be done without entering the confined space? □ Yes □ No If Yes – STOP. Do not enter. Carry out the work from outside.

| Work to be Carried Out: | Describe the work activity to be performed inside the confined space |
| --- | --- |
| Estimated Duration Inside: | Enter estimated time inside the space |
| Maximum Continuous Entry Time: | Enter maximum time permitted (considering atmosphere, temperature, fatigue) |

# Personnel

| Role | Name | Company | Cert. No. | Expiry |
| --- | --- | --- | --- | --- |
| Authorised Entrant(s) |  |  |  |  |
| Authorised Entrant (2) |  |  |  |  |
| Top Man / Standby Person |  |  |  |  |
| Standby Person (2) |  |  |  |  |
| Rescue Team Leader |  |  |  |  |
| Permit Issuer |  |  |  |  |
| Supervisor |  |  |  |  |

# Atmospheric Monitoring Record

Record all atmospheric readings before and during entry. Continuous monitoring must be maintained throughout the entry. If any reading exceeds safe limits, evacuate immediately.

| Time | O₂ % | LEL % | H₂S (ppm) | CO (ppm) | Other | Initials |
| --- | --- | --- | --- | --- | --- | --- |
| Safe Limits | 19.5–23.5 | < 10 | < 5 | < 20 | See WEL |  |

| Gas Monitor Serial No: | Enter serial number |
| --- | --- |
| Last Calibration Date: | DD / MM / YYYY |
| Calibration Due Date: | DD / MM / YYYY |
| Bump Test Completed: | Yes / No – Date: DD / MM / YYYY |

# Pre-Entry Checklist

All items must be checked and confirmed before entry. If any item is marked ‘No’, the issue must be resolved before entry is permitted. Do not enter the confined space until all applicable items are confirmed.

| No. | Pre-Entry Check | Yes | No | N/A | Initials |
| --- | --- | --- | --- | --- | --- |
| 1 | Confined space entry permit has been obtained and is valid |  |  |  |  |
| 2 | Risk assessment specific to this confined space has been completed |  |  |  |  |
| 3 | Method statement has been prepared, approved and briefed to all personnel |  |  |  |  |
| 4 | All entrants and the top man / standby person have been trained and are competent (confined space training current) |  |  |  |  |
| 5 | Atmospheric monitoring equipment has been calibrated (within date) and a pre-entry test conducted |  |  |  |  |
| 6 | Oxygen level is between 19.5% and 23.5% |  |  |  |  |
| 7 | No flammable gas detected (LEL reading below 10%) |  |  |  |  |
| 8 | No toxic gas detected above workplace exposure limits (H₂S, CO, etc.) |  |  |  |  |
| 9 | Continuous atmospheric monitoring will be maintained during the entry |  |  |  |  |
| 10 | Ventilation has been established (natural or forced) and is adequate |  |  |  |  |
| 11 | All pipework, valves and services have been isolated, locked off and tagged out |  |  |  |  |
| 12 | Electrical isolations confirmed and tested dead |  |  |  |  |
| 13 | Mechanical isolation confirmed (blanking, disconnection, physical barriers) |  |  |  |  |
| 14 | Residual hazardous substances have been purged, cleaned or neutralised |  |  |  |  |
| 15 | Access and egress arrangements are suitable (ladder, steps, winch) |  |  |  |  |
| 16 | Emergency rescue equipment is in position and has been tested (tripod, winch, breathing apparatus) |  |  |  |  |
| 17 | Communication system between entrant and top man has been tested and is operational |  |  |  |  |
| 18 | Top man / standby person is in position and has been briefed on their duties |  |  |  |  |
| 19 | Rescue team is on standby and aware (or external rescue services have been notified) |  |  |  |  |
| 20 | First aid equipment is immediately available at the entry point |  |  |  |  |
| 21 | Barriers, signs and exclusion zone are in place around the confined space entry point |  |  |  |  |
| 22 | All personnel have been briefed on the emergency rescue procedure |  |  |  |  |
| 23 | Fire extinguisher is available at the entry point |  |  |  |  |
| 24 | PPE and RPE have been checked, fitted and are in good condition |  |  |  |  |
| 25 | No hot works will be carried out inside the space without additional specific controls |  |  |  |  |

# Emergency Rescue Plan

A rescue plan must be in place before any entry. Describe the rescue arrangements specific to this confined space.

| Rescue Method: | e.g. Tripod and winch extraction, horizontal drag, manual extraction |
| --- | --- |
| Rescue Equipment Location: | Enter location of equipment at the entry point |
| Rescue Team: | Enter names of rescue-trained personnel on standby |
| Emergency Services Notified: | Yes / No – Fire and Rescue pre-notified of entry? |
| Nearest Hospital A&E: | Enter hospital name and route |
| Communication System: | e.g. Hardwired intercom, radio, voice, visual, tug rope |
| Alarm Signal: | Describe the emergency alarm signal (e.g. 3 blasts on horn, continuous alarm) |

Rescue procedure summary:

Describe the step-by-step rescue procedure. Include: alarm raising, extraction method, first aid, emergency services call, decontamination (if required).

# Entry and Exit Log

| No. | Entrant Name | Time In | Time Out | Duration | Top Man | Initials |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |

# Authorisation to Enter

I confirm that the safe system of work has been established, all pre-entry checks have been completed satisfactorily, the rescue plan is in place, and entry may proceed.

| Authorised By: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Time: |  |

# Close-Out

To be completed when the entry is concluded and all personnel have exited the confined space.

| All Personnel Exited: | Yes / No – Time: HH:MM |
| --- | --- |
| Equipment Recovered: | Yes / No |
| Space Secured: | Yes / No (cover replaced, barriers reinstated) |
| Any Incidents During Entry: | Yes / No – If yes, describe: |

| Closed Out By: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Time: |  |

# Notes / Additional Comments

Enter any additional notes or comments here.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |