Temporary Accommodation Fire Risk Assessment

Health & Safety – Fire Safety

This fire risk assessment covers temporary site accommodation including offices, welfare facilities, canteens, drying rooms and stores. It is carried out in accordance with the Regulatory Reform (Fire Safety) Order 2005 and HSE guidance. The responsible person must ensure this assessment is completed before occupation and reviewed regularly.

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract No: | Enter contract number |
| Assessed By: | Enter name and role |
| Approved By: | Enter name and role |

# Accommodation Details

| Location on Site: | Describe the location of the temporary accommodation compound |
| --- | --- |
| Type of Units: | e.g. Portakabin, container, modular, stacked, linked |
| Number of Units: | Enter total number of units |
| Configuration: | e.g. Single storey, double stacked, linked complex |
| Maximum Occupancy: | Enter maximum number of persons |
| Uses: | e.g. Site office, canteen, drying room, meeting room, stores |
| Hours of Occupation: | e.g. 06:00–20:00 weekdays |
| Heating System: | e.g. Electric panel heaters, warm air, no LPG |
| Cooking Facilities: | e.g. Microwave, kettle, toaster, urn |
| Electrical Supply: | e.g. Temporary builder’s supply, generator |

# Persons at Risk

Identify who is at risk from fire in the temporary accommodation.

| □ Site management and office staff | □ Visitors and client representatives |
| --- | --- |
| □ Site operatives using welfare facilities | □ Cleaning and maintenance staff |
| □ Night security staff | □ Lone workers out of hours |
| □ Disabled persons or those with mobility issues | □ Young persons / apprentices |

# Fire Risk Assessment Checklist

Assess each item below. Mark Yes (satisfactory), No (action required) or N/A. Record actions for any item marked No.

Fire Sources and Ignition Hazards

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 1 | Temporary electrical installations are tested, certified and in good condition (PAT tested, RCD protected) |  |  |  |  |
| 2 | No overloaded sockets, extension leads or multi-plug adaptors |  |  |  |  |
| 3 | Portable heaters are thermostatically controlled and positioned away from combustible materials (minimum 1 metre clearance) |  |  |  |  |
| 4 | Only approved heating appliances are used (no LPG heaters inside cabins unless specifically designed and approved) |  |  |  |  |
| 5 | No evidence of unauthorised electrical appliances (kettles with damaged cables, personal heaters, etc.) |  |  |  |  |
| 6 | Cooking appliances (microwave, toaster, kettle) are in good condition and positioned on stable, heat-resistant surfaces |  |  |  |  |
| 7 | Smoking is prohibited inside all temporary accommodation units |  |  |  |  |
| 8 | External designated smoking area is at least 6 metres from temporary accommodation |  |  |  |  |
| 9 | No evidence of candles, incense or open flames inside units |  |  |  |  |
| 10 | Battery charging (power tools, mobile phones) is carried out in a designated safe area |  |  |  |  |
| 11 | Hot works in the vicinity of temporary accommodation are subject to a hot works permit |  |  |  |  |

Combustible Materials and Fuel Load

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 12 | Combustible materials (paper, cardboard, timber, chemicals) are kept to a minimum inside units |  |  |  |  |
| 13 | Waste bins are emptied regularly and not allowed to overflow |  |  |  |  |
| 14 | Flammable liquids and gases are not stored inside temporary accommodation |  |  |  |  |
| 15 | External storage of LPG cylinders complies with HSE guidance (upright, ventilated, minimum 2 metres from cabin openings) |  |  |  |  |
| 16 | Furnishings (curtains, soft furnishings) are fire-retardant where possible |  |  |  |  |
| 17 | Notice boards and paper displays are limited and positioned away from heat sources |  |  |  |  |
| 18 | Cleaning materials and aerosols are stored safely in a designated area |  |  |  |  |

Fire Detection and Alarm

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 19 | Smoke detectors are installed in all occupied areas and tested weekly |  |  |  |  |
| 20 | Smoke detector batteries are checked and replaced as needed |  |  |  |  |
| 21 | Heat detectors are installed in kitchenette/cooking areas |  |  |  |  |
| 22 | An audible fire alarm is in place that can be heard throughout all connected units |  |  |  |  |
| 23 | The alarm system is tested weekly and the test is recorded |  |  |  |  |
| 24 | If multiple cabins are linked, the detection and alarm system is interconnected |  |  |  |  |

Means of Escape

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 25 | All escape routes are clearly signed with photoluminescent signage |  |  |  |  |
| 26 | Emergency exit doors open in the direction of escape and are not locked or obstructed |  |  |  |  |
| 27 | Escape routes are kept clear of obstructions at all times |  |  |  |  |
| 28 | Emergency lighting is provided and tested monthly |  |  |  |  |
| 29 | Travel distances to the nearest exit do not exceed the recommended maximum |  |  |  |  |
| 30 | Where cabins are stacked or linked, escape routes from upper levels are adequate (protected stairways, external escape stairs) |  |  |  |  |
| 31 | Muster point is identified and clearly signed |  |  |  |  |

Fire-Fighting Equipment

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 32 | Appropriate fire extinguishers are provided (minimum one multi-purpose ABC powder or CO2 per unit) |  |  |  |  |
| 33 | Fire extinguishers are serviced annually and in date |  |  |  |  |
| 34 | Fire extinguisher locations are clearly signed |  |  |  |  |
| 35 | Fire blanket is provided in kitchen/cooking areas |  |  |  |  |
| 36 | Personnel have been trained in fire extinguisher use |  |  |  |  |
| 37 | Fire extinguishers are wall-mounted at the correct height and accessible |  |  |  |  |

Structural and Separation

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 38 | Temporary accommodation units achieve a minimum 30-minute fire resistance where required |  |  |  |  |
| 39 | Gaps between linked cabins are sealed to prevent fire and smoke spread |  |  |  |  |
| 40 | Units are separated from the construction works and main buildings by a suitable distance or fire break |  |  |  |  |
| 41 | Units are positioned to allow emergency vehicle access |  |  |  |  |
| 42 | External cladding and insulation materials are non-combustible or limited combustibility |  |  |  |  |
| 43 | Roof coverings are fire-resistant |  |  |  |  |

Management and Procedures

| No. | Assessment Item | Yes | No | N/A | Action Required |
| --- | --- | --- | --- | --- | --- |
| 44 | Fire evacuation procedure is displayed in each unit |  |  |  |  |
| 45 | Emergency contact numbers are displayed in each unit |  |  |  |  |
| 46 | A fire evacuation drill has been conducted and recorded |  |  |  |  |
| 47 | Fire marshals / wardens have been appointed for the temporary accommodation area |  |  |  |  |
| 48 | All occupants have been briefed on the fire procedure, alarm signal and assembly point |  |  |  |  |
| 49 | A daily visual check of fire safety provisions is carried out by a responsible person |  |  |  |  |
| 50 | The fire risk assessment is reviewed at least every 6 months or after any significant change |  |  |  |  |
| 51 | Housekeeping inspections are carried out regularly to control fire load |  |  |  |  |

# Fire Equipment Inventory

| No. | Equipment Type | Location | Rating / Size | Service Date | Expiry Date | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

# Overall Fire Risk Rating

□ LOW RISK – Adequate fire safety measures in place. Maintain current controls. □ MEDIUM RISK – Some improvements required. Address actions within agreed timescales. □ HIGH RISK – Significant deficiencies. Immediate action required before continued occupation.

# Action Plan

| No. | Action Required | Responsible Person | Target Date | Priority | Status |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# Assessor Sign-Off

I confirm that I have carried out this fire risk assessment in accordance with the Regulatory Reform (Fire Safety) Order 2005 and that the findings and recommendations are recorded accurately.

| Assessor Name: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Role: |  |

# Responsible Person Approval

| Name: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Review Date: |  |

# Notes / Additional Comments

Enter any additional notes or comments here.

# Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |