Joint Sealant Installation Record

Record of joint sealant installation in concrete structures including expansion joints, construction joints, and movement joints. Documents surface preparation, sealant type, application conditions, and quality checks. In accordance with BS 6213 (Selection of construction sealants) and the project specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Location: | Enter joint location and element |
| Joint Reference: | Enter joint reference from drawings |

Joint Details

| Joint Type: | e.g. expansion, contraction, construction, movement, isolation |
| --- | --- |
| Joint Width (mm): | Enter design width |
| Joint Depth (mm): | Enter design depth of sealant |
| Width-to-Depth Ratio: | Enter — typically 2:1 for movement joints |
| Expected Movement (mm): | Enter design movement range |
| Backing Rod Type: | e.g. closed-cell polyethylene, open-cell foam — enter diameter |
| Backing Rod Depth: | Enter depth of backing rod from surface |

Sealant Application

| Sealant Type: | e.g. polysulphide, polyurethane, silicone, hybrid — enter class |
| --- | --- |
| Sealant Product: | Enter product name and manufacturer |
| Batch / Lot Number: | Enter for traceability |
| Primer Used: | Yes / No — enter primer product name |
| Surface Preparation: | Describe — clean, dry, free from laitance, grease, and loose material |
| Application Method: | e.g. gun-applied, poured, pre-formed strip |
| Ambient Temperature (°C): | Enter — confirm within sealant manufacturer limits |
| Substrate Temperature (°C): | Enter |
| Humidity (%): | Enter — some sealants sensitive to moisture |
| Tooling: | Describe tooling method and profile achieved (concave, flush) |
| Sealant Cure Time: | Enter manufacturer specified cure time |
| Area Sealed (linear m): | Enter total length of joint sealed this session |

Notes / Additional Comments

Enter any additional notes or supporting documentation references here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Sealant Applicator |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| QA Inspector |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |