| CONCRETE POUR RECORD SHEET |  |
| --- | --- |
| Document Ref: | Enter document reference |
| Pour Number: | Enter sequential pour number |
| Date of Pour: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This record documents each concrete pour on site. It must be completed in full for every pour and retained as a quality record. Concrete must comply with BS EN 206 and BS 8500. Delivery tickets must be checked against the specification before accepting each load. Cube samples must be taken at the frequency specified in the ITP.

1. Pour Details

| Location / Element: | Describe element being poured (e.g. base slab, wall, column, beam, floor slab) |
| --- | --- |
| Drawing Reference: | Enter structural drawing number and revision |
| Specification Reference: | Enter concrete specification clause / section |
| Grid Lines / Coordinates: | Enter grid references or chainage |
| Pour Volume (m³): | Enter estimated volume |
| Actual Volume Delivered (m³): |  |
| Concrete Grade / Class: | e.g. C32/40, C35/45, C40/50 |
| Exposure Class: | e.g. XC1, XC3/4, XS1, XD2, XF3 (per BS EN 206 / BS 8500) |
| Maximum Aggregate Size: | 10mm / 20mm / 40mm |
| Cement Type: | CEM I / CEM II / CEM III / GGBS blend / PFA blend (state %) |
| Target Slump / Consistence: | Slump (mm) or flow (mm) — e.g. S3 (100-150mm) |
| Maximum w/c Ratio: | e.g. 0.45, 0.50, 0.55 |
| Admixtures: | Plasticiser / Retarder / Accelerator / Air entrainer / Waterproofer / None |
| Minimum Cement Content: | Enter kg/m³ |
| Reinforcement Inspection Complete: | Yes / No (sign-off reference) |
| Formwork Inspection Complete: | Yes / No (sign-off reference) |
| Pre-Pour Checklist Complete: | Yes / No |

2. Delivery Ticket Log

Record every delivery. Check ticket against specification before accepting. Note any loads rejected.

| No. | Ticket No. | Truck Reg | Batch Time | Arrival | Vol (m³) | Slump (mm) | Notes / Rejected |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| TOTAL VOLUME: |  |  |  |  |  |  |  |

3. Slump Tests and Cube Samples

Record slump tests and cube samples taken during the pour. Typical test ages: 7 and 28 days.

| No. | Time | Slump (mm) | Temp (°C) | Cubes Taken | Cube ID / Lab Ref | Test Ages (days) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

4. Pour Conditions

| Pour Start Time: | HH:MM |
| --- | --- |
| Pour Finish Time: | HH:MM |
| Total Pour Duration: | Hours and minutes |
| Placing Method: | Pump / Skip / Chute / Barrow / Tremie |
| Compaction Method: | Poker vibrator / Beam vibrator / Self-compacting (SCC) |
| Ambient Temperature (°C): | Enter temperature (note: below 5°C or above 30°C requires special precautions) |
| Concrete Temperature (°C): | Enter temperature at point of placing |
| Weather Conditions: | Dry / Rain / Wind / Frost / Hot sun |
| Wind Speed (approx.): | Light / Moderate / Strong |
| Rain Protection Provided: | Yes / No / N/A |
| Hot Weather Measures: | Yes / No / N/A (shade, damping, ice, retarder) |
| Cold Weather Measures: | Yes / No / N/A (insulation, heated enclosure, accelerator) |

5. Curing

| Curing Method: | Curing membrane / Polythene sheet / Hessian + water / Ponding / Insulation blankets / Steam / None |
| --- | --- |
| Curing Applied At: | HH:MM (time after finishing) |
| Curing Duration: | Enter minimum curing period per specification (typically 3–7 days) |
| Curing Temperature Monitored: | Yes / No |
| Striking Time (formwork): | Enter earliest striking time per specification |
| Early Striking Calculation Ref: | Enter reference if striking before standard 7 days |

6. Sign-Off

By signing, each party confirms the pour was carried out in accordance with the specification and this record is accurate.

| Role | Print Name | Signature | Date |
| --- | --- | --- | --- |
| Site Engineer |  |  |  |
| Supervisor / Foreman |  |  |  |
| Quality Manager |  |  |  |
| Client / Engineer's Representative |  |  |  |

7. Notes / Additional Comments

Enter any additional notes, defects observed during pour, or deviations from specification

8. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: BS EN 206, BS 8500-1 and BS 8500-2, BS EN 12350 (testing fresh concrete), BS EN 12390 (testing hardened concrete), Specification, ITP