Thrust Block Inspection Record

Individual inspection record for each thrust block or anchor block on pipeline installations. Complete one record per thrust block and retain as a permanent quality record. In accordance with BS EN 805 (Water supply systems), BS EN 1295-1 (Structural design of buried pipelines), and the project specification.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Pipeline Contractor: | Enter contractor name |
| Prepared By: | Name / role |
| Approved By: | Name / role |

Thrust Block Location and Design

| Thrust Block Reference: | Enter unique thrust block identification number |
| --- | --- |
| Location / Chainage: | Enter location, chainage, or grid reference |
| Fitting Type: | e.g. bend (45°, 90°), tee, taper, dead end, hydrant, valve |
| Pipeline Reference: | Enter pipeline or main reference |
| Pipe Diameter (mm): | Enter nominal diameter |
| Pipe Material: | e.g. DI, PE, uPVC, steel, GRP |
| Design Pressure (barg): | Enter maximum working pressure or test pressure |
| Design Thrust Force (kN): | Enter calculated thrust force per design drawing |
| Ground Conditions: | Describe soil type at thrust block location |
| Assumed Bearing Capacity (kN/m²): | Enter design bearing capacity used in calculation |

Thrust Block Construction Details

| Thrust Block Material: | e.g. mass concrete, reinforced concrete |
| --- | --- |
| Concrete Grade: | e.g. C20/25, C25/30 |
| Design Dimensions (L x W x D): | Enter designed length x width x depth (mm) |
| Actual Dimensions (L x W x D): | Enter as-built length x width x depth (mm) |
| Volume of Concrete (m³): | Enter actual volume placed |
| Bearing Face Area (m²): | Enter area of concrete bearing against undisturbed ground |
| Polythene Wrap / DPM Installed: | Yes / No — to prevent concrete bonding to pipe |
| Reinforcement (if applicable): | Enter rebar details or state unreinforced |
| Concrete Delivery Ticket Ref: | Enter delivery ticket number(s) |
| Cube / Cylinder Test Ref: | Enter concrete test specimen reference(s) |
| Date Poured: | DD / MM / YYYY |
| Date Cured / Backfilled: | DD / MM / YYYY |

Thrust Block Sketch

Sketch the thrust block showing plan view and section with key dimensions, pipe fitting, and bearing face against undisturbed ground.

Inspection Checklist

| No. | Inspection Item | Y / N / NA | Comments |
| --- | --- | --- | --- |
| 1 | Thrust block location matches approved design drawing |  |  |
| 2 | Excavation formed to correct dimensions and against undisturbed ground |  |  |
| 3 | No loose or disturbed material against the bearing face of the excavation |  |  |
| 4 | Pipe fitting correctly installed and aligned prior to thrust block placement |  |  |
| 5 | Polythene sheet or DPM placed between concrete and pipe to allow future pipe removal |  |  |
| 6 | Concrete placed without voids and fully encasing the fitting as per design |  |  |
| 7 | Concrete compacted by vibration or tamping to remove air pockets |  |  |
| 8 | Thrust block dimensions match or exceed design requirements |  |  |
| 9 | Bearing face bears directly against undisturbed natural ground (not backfill) |  |  |
| 10 | No groundwater ingress during pour that would compromise concrete quality |  |  |
| 11 | Concrete cube / cylinder samples taken where required by specification |  |  |
| 12 | Concrete allowed to cure for minimum specified period before pressure testing |  |  |
| 13 | Thrust block clearly marked with pipeline reference for future identification |  |  |
| 14 | Photographic record taken prior to backfilling |  |  |
| 15 | As-built dimensions recorded and compared to design |  |  |

Inspection Result

| Overall Result: | Pass / Fail / Conditional |
| --- | --- |
| Permission to Backfill: | Yes / No |
| Remedial Actions: | Detail any remedial works needed |

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Pipeline Foreman / Ganger |  |  | DD / MM / YYYY |
| Site Engineer (Main Contractor) |  |  | DD / MM / YYYY |
| Water Company Inspector (if applicable) |  |  | DD / MM / YYYY |
| Client Representative |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, design calculation references, or photographic references here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |