Dewatering System Installation Record

Installation and commissioning record for temporary dewatering systems including wellpoints, deep wells, sump pumping, and ejector systems. Classified as temporary works under BS 5975 and managed through the TW register. Dewatering may also require an abstraction licence from the Environment Agency and a discharge consent. Monitoring must be maintained throughout operation.

Project Details

| Document Ref: | Enter document reference |
| --- | --- |
| Revision: | Enter revision number |
| Date: | DD / MM / YYYY |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| TW Register Ref: | Enter temporary works register reference |
| Dewatering Contractor: | Enter dewatering specialist name |
| Prepared By: | Name / role |
| Approved By: | Name / role |

System Design and Location

| Dewatering System Type: | e.g. sump pumping, wellpoints, deep wells, ejector wells, eductor system |
| --- | --- |
| Location / Area: | Enter excavation or area being dewatered |
| Excavation Depth (m): | Enter maximum excavation depth below ground level |
| Required Drawdown Level (mAOD): | Enter target groundwater level to be achieved |
| Existing Groundwater Level (mAOD): | Enter pre-dewatering groundwater level |
| Ground Conditions: | Describe soil types, permeability, and aquifer details |
| Dewatering Design Ref: | Enter design calculation or specialist report reference |
| Design Check Certificate Ref: | Enter TW design check certificate reference if Cat 2/3 |
| Environmental Permit / Consent Ref: | Enter abstraction licence, discharge consent, or permit reference |
| Discharge Location: | Enter where extracted water is discharged (drain, watercourse, soakaway, tanker) |

Installation Details

| Number of Wellpoints / Wells: | Enter total number installed |
| --- | --- |
| Wellpoint / Well Spacing (m): | Enter spacing between points |
| Installation Depth (m): | Enter depth of wellpoints / wells below ground level |
| Screen Length (m): | Enter filter screen length |
| Well Diameter (mm): | Enter borehole or well casing diameter |
| Filter Pack Material: | Enter gravel pack or filter sand specification |
| Header Main Size (mm): | Enter diameter of header pipe connecting wellpoints |
| Pump Type: | e.g. vacuum wellpoint pump, submersible, self-priming centrifugal |
| Pump Make and Model: | Enter pump manufacturer and model |
| Pump Capacity (l/s): | Enter pump rated capacity |
| Number of Pumps (duty + standby): | Enter number — confirm standby provision |
| Power Supply: | e.g. mains electric, diesel generator — enter kVA rating |
| Standby Power: | Enter backup power arrangements (second generator, dual feed) |
| Monitoring Wells Installed: | Enter number and locations of piezometers / observation wells |
| Installation Date: | DD / MM / YYYY |
| System Commissioned Date: | DD / MM / YYYY |

Groundwater Monitoring Log

Record groundwater levels, flow rates, and pump status at the frequency specified in the monitoring plan (typically twice daily during drawdown, then daily during operation). Attach additional sheets as required.

| No. | Date | Time | GW Level (mAOD) | Flow Rate (l/s) | Pump Status | Discharge Quality | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Dewatering Contractor / Specialist |  |  | DD / MM / YYYY |
| Temporary Works Coordinator |  |  | DD / MM / YYYY |
| Site Engineer |  |  | DD / MM / YYYY |
| Environmental Manager (if discharge consent reqd) |  |  | DD / MM / YYYY |

Notes / Additional Comments

Enter any additional notes, wellpoint layout sketches, settlement monitoring data, EA permit conditions, or discharge water quality test results here.

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |