| HOT WORKS PERMIT |  |
| --- | --- |
| Permit Number: | Enter unique permit number |
| Revision: | Enter revision number |
| Date Issued: | DD / MM / YYYY |
| Permit Valid From: | DD / MM / YYYY and start time |
| Permit Valid Until: | DD / MM / YYYY and end time (max 24 hours) |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Prepared By: | Name, position and company |
| Approved By: | Name, position and company |

This permit controls hot works activities that present a fire risk. It must be completed before any welding, cutting, grinding, brazing, soldering or other work involving ignition sources commences. The permit is valid for a maximum of 24 hours and must be renewed daily. Compliance with the Regulatory Reform (Fire Safety) Order 2005, DSEAR 2002, and CDM 2015 is required.

1. Hot Works Details

| Location of Hot Works: | Describe exact location, floor/level, room, zone or grid reference |
| --- | --- |
| Description of Work: | Describe the hot works activity in detail |
| Type of Hot Work: | Welding (MIG/TIG/MMA/Oxy-fuel) / Cutting / Grinding / Brazing / Soldering / Bitumen heating / Other |
| Equipment to be Used: | List all equipment: welding sets, grinders, gas bottles, torches etc. |
| Materials Being Worked On: | Describe base materials and any coatings, paints or treatments present |
| Duration of Hot Works: | Estimated start and finish times |
| Fire Watch Period After Completion: | Minimum 60 minutes (or as specified by site rules / insurer requirements) |
| Person Carrying Out Hot Works: | Name, employer and competence details |
| Fire Watch Person: | Name (must remain present throughout works and fire watch period) |

2. Hazard Identification

Assess and record all fire-related hazards in the vicinity of the proposed hot works.

| Combustible materials within 10m: | Yes / No (if Yes, describe materials and protection measures) |
| --- | --- |
| Flammable liquids or gases in vicinity: | Yes / No (if Yes, describe and state clearance measures) |
| Openings in floors / walls / ceilings: | Yes / No (if Yes, describe sealing measures) |
| Concealed voids behind work surface: | Yes / No (if Yes, describe how they are protected) |
| Dust or fume accumulation risk: | Yes / No (if Yes, describe ventilation / extraction measures) |
| Smoke detectors in vicinity: | Yes / No (if Yes, confirm isolation / impairment arrangements) |
| Sprinkler system in vicinity: | Yes / No (if Yes, confirm impairment procedures followed) |
| Other occupants / activities affected: | Yes / No (if Yes, describe notification and protection measures) |
| Asbestos-containing materials (ACMs): | Yes / No (confirm asbestos survey reviewed and no ACMs in work area) |
| Lead paint or hazardous coatings: | Yes / No (if Yes, describe precautions per COSHH 2002) |

3. Pre-Hot Works Checklist

All items must be confirmed before hot works commence. Any 'No' answer must be resolved before the permit is signed.

| No. | Pre-Hot Works Check Item | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1 | Risk assessment completed and communicated to all involved personnel |  |  |  |
| 2 | Method statement reviewed and briefed |  |  |  |
| 3 | Area inspected for combustible and flammable materials within 10m radius |  |  |  |
| 4 | Combustible materials removed or protected with fire-resistant covers / blankets |  |  |  |
| 5 | Floor swept clean of dust, debris and combustible waste |  |  |  |
| 6 | Openings in floors, walls and ceilings sealed or protected |  |  |  |
| 7 | Concealed voids checked and protected (fire-resistant material) |  |  |  |
| 8 | Fire-resistant screens / welding curtains erected where required |  |  |  |
| 9 | Adequate ventilation or local exhaust ventilation (LEV) provided |  |  |  |
| 10 | Atmospheric monitoring completed where required (confined / enclosed spaces) |  |  |  |
| 11 | Fire extinguisher(s) provided at work location (minimum 1x CO2 + 1x water or foam) |  |  |  |
| 12 | Fire blanket available at work location |  |  |  |
| 13 | Fire watch person briefed and in position |  |  |  |
| 14 | Fire alarm zone isolated and recorded in fire alarm impairment log (if applicable) |  |  |  |
| 15 | Sprinkler system impairment recorded and notified (if applicable) |  |  |  |
| 16 | Smoke / heat detectors covered and recorded in impairment log |  |  |  |
| 17 | Emergency evacuation route confirmed clear and accessible |  |  |  |
| 18 | Nearest fire alarm call point location confirmed |  |  |  |
| 19 | All personnel wearing appropriate PPE (fire-resistant clothing, welding visor, gloves) |  |  |  |
| 20 | Gas cylinders secured upright, regulators and flashback arrestors fitted |  |  |  |
| 21 | Hoses and connections inspected and in good condition |  |  |  |
| 22 | Electrical welding equipment PAT tested and leads inspected |  |  |  |
| 23 | Adjacent areas above, below and beside work area checked for fire risk |  |  |  |
| 24 | Hot works signage displayed at work location |  |  |  |
| 25 | Permit displayed at point of work |  |  |  |

4. Fire Watch Log

Record all fire watch inspections during works and throughout the post-completion fire watch period (minimum 60 minutes).

| Date | Time | Inspection Area | Observations | Fire Watch Person | Initials |
| --- | --- | --- | --- | --- | --- |

5. Emergency Procedures

| In the event of fire: | Raise alarm, evacuate area, call 999, attempt to extinguish only if safe and trained, notify site manager immediately. Do not re-enter the area until declared safe. |
| --- | --- |
| In the event of burns injury: | Cool burn under running water for at least 20 minutes, call first aider, call 999 if serious, do not remove clothing stuck to burn. |
| In the event of fume inhalation: | Move person to fresh air immediately, call first aider, call 999 if breathing difficulty, do not re-enter fume-filled area without RPE. |
| Assembly point: | Enter site assembly point location |
| Emergency contact numbers: | Fire: 999 ¦ Site emergency: [enter] ¦ First aider: [enter] |

6. Permit Authorisation

By signing below, each person confirms they understand the hazards and controls, and that all precautions are in place.

| Role | Print Name | Signature | Date / Time |
| --- | --- | --- | --- |
| Permit Applicant (Person carrying out works) |  |  |  |
| Fire Watch Person |  |  |  |
| Permit Issuer (Site Manager / Supervisor) |  |  |  |
| Fire Safety Advisor (if required) |  |  |  |

7. Permit Close-Out

To be completed by the Permit Issuer after the fire watch period has expired and the area is confirmed safe.

| Hot works completed at: | Time and date |
| --- | --- |
| Fire watch period completed at: | Time and date (minimum 60 min after works ceased) |
| Final inspection of area: | Satisfactory / Unsatisfactory |
| Fire alarm / detection reinstated: | Yes / No / N/A |
| Sprinkler system reinstated: | Yes / No / N/A |
| Area returned to normal condition: | Yes / No |
| Permit closed by: | Name and signature |
| Close-out date and time: | DD / MM / YYYY and time |

8. Notes / Additional Comments

Enter any additional notes, observations or comments here

9. Document Control

| Rev | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |

References: Regulatory Reform (Fire Safety) Order 2005, DSEAR 2002, CDM 2015, BS EN 1090, COSHH 2002, Joint Code of Practice for Fire Prevention on Construction Sites (FPA / CPA)