Weekly Site Safety Inspection Checklist

Weekly management safety inspection checklist covering all key areas of site health, safety, welfare, and environmental management. To be completed by the site manager or H&S adviser during a structured walkround of the site. In accordance with CDM 2015 and the project H&S plan.

Inspection Details

| Date: | DD / MM / YYYY |
| --- | --- |
| Project Name: | Enter project name |
| Contract Number: | Enter contract number |
| Inspector Name: | Enter name and role |
| Accompanied By: | Enter any other persons on the walkround |
| Weather: | Enter weather conditions |
| Headcount on Site: | Enter approximate number of persons on site |

Inspection Checklist

| No. | Check Item | Y / N / NA | Comments |
| --- | --- | --- | --- |
| 1 | Site access and egress — gates secure, signing correct, pedestrian routes clear |  |  |
| 2 | Site compound — tidy, welfare clean, first aid stocked, fire extinguishers in date |  |  |
| 3 | Traffic management — routes clear, signage in place, banksmen present where required |  |  |
| 4 | Excavations — barriers in place, trench support adequate, ladders provided, daily inspections current |  |  |
| 5 | Scaffolding — tags current, access secure, ties in place, boards complete, no overloading |  |  |
| 6 | Working at height — edge protection in place, ladders secured, harnesses worn where required |  |  |
| 7 | Housekeeping — work areas tidy, waste segregated, materials stored safely, walkways clear |  |  |
| 8 | Plant and equipment — daily checks completed, LOLER/PUWER inspection records current |  |  |
| 9 | Lifting operations — lift plans in place, accessories inspected, exclusion zones maintained |  |  |
| 10 | Temporary works — register current, inspections up to date, permits valid |  |  |
| 11 | Electrical safety — temporary distribution boards locked, RCDs tested, trailing cables managed |  |  |
| 12 | Fire prevention — hot works permits in place, fire points accessible, extinguishers in date |  |  |
| 13 | COSHH — substances stored correctly, assessments available, PPE in use |  |  |
| 14 | Noise and vibration — assessments in place, hearing protection zones signed, HAV management |  |  |
| 15 | PPE — all operatives wearing correct PPE for their task |  |  |
| 16 | Permits to work — all current permits checked and valid |  |  |
| 17 | Welfare facilities — toilets clean, drying room adequate, drinking water available, canteen clean |  |  |
| 18 | Environmental — dust suppression working, silt fences intact, spill kits available, waste segregated |  |  |
| 19 | Signage — safety signs in place, legible, and relevant to current activities |  |  |
| 20 | Emergency equipment — first aid kits stocked, AED available, eye wash stations, emergency routes clear |  |  |

Actions Arising

| No. | Action Required | Owner | Due Date | Status |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |

Notes / Additional Comments

Enter any additional notes, positive observations, or photographs here.

Sign-Off

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Inspector (Site Manager / H&S Adviser) |  |  | DD / MM / YYYY |
| Construction Manager (review) |  |  | DD / MM / YYYY |
| Client H&S Rep (if present) |  |  | DD / MM / YYYY |

Document Control

| Revision | Date | Description of Change | Author | Approved By |
| --- | --- | --- | --- | --- |
| A |  | Initial issue |  |  |