Batten Gauge Check Record

Pitched Roof — Tile / Slate Batten Gauge Verification per BS 5534 and Manufacturer's Requirements

| Project and Roof Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Date: | DD/MM/YYYY |
| Project Name: |  | Contract No: |  |
| Location / Plot No: | e.g., Plot 7, Block C | Drawing Ref: |  |
| Roof Elevation: | e.g., front, rear, side, all | Roof Pitch (degrees): |  |
| Contractor: |  | Inspector: |  |
| Prepared By: |  | Approved By: |  |

1. Tile / Slate and Batten Specification

| Tile / Slate Type: | e.g., concrete interlocking, clay plain, natural slate |  |  |
| --- | --- | --- | --- |
| Manufacturer: |  | Product Name: |  |
| Tile / Slate Size (mm): | L x W | Minimum Headlap (mm): | as per manufacturer |
| Maximum Gauge (mm): | as per manufacturer for roof pitch | Specified Gauge (mm): |  |
| Batten Size (mm): | e.g., 50x25mm, 38x25mm | Batten Grade: | e.g., BS 5534 graded, blue / red label |
| Counter Batten Size (mm): | e.g., 50x25mm (if used) | Counter Battens Required: | YES / NO |
| Underlay Type: | e.g., HR breathable, LR bituminous, BS 5534 compliant |  |  |
| Fixing Specification: | e.g., every tile, every 5th course — per BS 5534 fixing specification |  |  |
| Wind Zone: | as per BS 5534 Annex A | Site Altitude (m): |  |

2. Gauge Calculation

Record the gauge calculation based on tile/slate size, headlap, and rafter length. The gauge must not exceed the manufacturer's maximum for the given roof pitch.

| Tile / Slate Length (mm): |  |
| --- | --- |
| Minimum Headlap (mm): | from manufacturer's data for roof pitch |
| Maximum Gauge = Length - Headlap (mm): | calculated |
| Rafter Length (eaves to ridge) (mm): |  |
| Number of Courses: | calculated: rafter length / gauge (rounded up) |
| Adjusted Gauge (mm): | rafter length / number of courses |
| Top Course to Ridge Distance (mm): |  |
| Eaves Course Overhang (mm): | typically 50mm or as specified |
| Gauge Within Max. Permitted: | YES / NO |

3. Batten Gauge Measurement Log

Record gauge measurements at multiple positions across each roof elevation. Measure between top edges of consecutive battens. All measurements must be within ±5mm of the specified gauge (or as per project tolerance).

| Check No. | Elevation | Position (L/C/R) | Course Nos. | Specified (mm) | Measured (mm) | Deviation (mm) | Pass / Fail | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |

4. Additional Batten and Underlay Checks

| Batten and Underlay Quality Checks |  |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Item | Y | N | Comments |
| 1 | Battens correct grade and size (BS 5534 graded — check label colour) |  |  |  |
| 2 | Battens free from defects (splits, large knots, wane, excessive bow) |  |  |  |
| 3 | Battens treated with preservative where required (in contact with counter battens) |  |  |  |
| 4 | Battens nailed with correct fixings (minimum 65mm x 3.35mm nails or as specified) |  |  |  |
| 5 | Each batten fixed to every rafter with the specified number of nails |  |  |  |
| 6 | Batten joints staggered and supported on rafters (no unsupported joints) |  |  |  |
| 7 | Eaves batten raised to correct height (tilting fillet or raised batten to maintain tile line) |  |  |  |
| 8 | Top batten positioned correctly for ridge tile / dry ridge system |  |  |  |
| 9 | Verge battens correctly positioned for dry verge or mortar bedded verge |  |  |  |
| 10 | Valley and hip battens cut correctly to line |  |  |  |
| 11 | Counter battens (if used) correctly fixed to rafters through underlay |  |  |  |
| 12 | Underlay installed with correct horizontal laps (minimum 100mm or as specified) |  |  |  |
| 13 | Underlay draped correctly between rafters (25mm minimum sag for non-breathable) |  |  |  |
| 14 | Underlay dressed into gutters at eaves per BS 5534 / manufacturer's detail |  |  |  |
| 15 | Underlay continuous at ridges, hips, and valleys (no gaps) |  |  |  |

5. Non-Conformances

| No. | Item Ref | Description | Corrective Action | Closed |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

6. Inspection Sign-Off

By signing below, we confirm the batten gauge has been checked and is compliant with the specified gauge, BS 5534, and the tile/slate manufacturer's installation requirements.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Roofing Foreman |  |  | DD/MM/YYYY |
| Site Inspector |  |  | DD/MM/YYYY |
| Site Manager |  |  | DD/MM/YYYY |
| Client Representative |  |  | DD/MM/YYYY |

7. Notes / Additional Comments

Record additional observations, photograph references, or manufacturer's data sheet references.

8. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |