Steel Erection Sequence Record

Structural Steelwork — Erection Sequence, Inspection, and Completion Record per BS EN 1090-2

| Project Details |  |  |  |
| --- | --- | --- | --- |
| Document Ref: |  | Revision: |  |
| Project Name: |  | Contract No: |  |
| Structure / Zone: | e.g., main frame, extension, mezzanine |  |  |
| Steelwork Contractor: |  | Execution Class: | e.g., EXC2, EXC3 per BS EN 1090-2 |
| Steel Fabricator: |  | CE Marking / UKCA: | Certificate ref |
| Erection Drawing Ref: |  | Structural Engineer: |  |
| Prepared By: |  | Approved By: |  |
| Start Date: | DD/MM/YYYY | Target Completion: | DD/MM/YYYY |

1. Erection Sequence Log

Record each steel member erected in sequence. Reference the erection method statement and crane lift plan for each phase.

| Seq | Member Mark | Section Size | Grid Ref | Level / Floor | Date Erected | Crane Ref | Bolts Fitted | Plumb / Level OK | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |

2. Pre-Erection Checks

| A: Pre-Erection Verification |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Comments |
| 1 | Foundations / base plates surveyed and confirmed to correct level and position |  |  |  |  |
| 2 | Holding-down bolts checked for position, projection, and condition |  |  |  |  |
| 3 | Grouting pockets clean and ready (grout specified and available) |  |  |  |  |
| 4 | Steel members checked on delivery against fabrication drawings (mark numbers, sizes) |  |  |  |  |
| 5 | Delivery note cross-referenced to erection drawing — all members accounted for |  |  |  |  |
| 6 | Steel members inspected for transport damage, distortion, or coating damage |  |  |  |  |
| 7 | Protective coatings intact (galvanising, intumescent, primer — as specified) |  |  |  |  |
| 8 | Connection packs checked (bolts, nuts, washers — correct grade and quantity) |  |  |  |  |
| 9 | Bolt grade confirmed (e.g., Grade 8.8, 10.9) and certificates available |  |  |  |  |
| 10 | Erection method statement and lift plan reviewed and briefed to team |  |  |  |  |
| 11 | Exclusion zone established around erection area |  |  |  |  |
| 12 | Crane positioned on firm ground, outriggers deployed, and load charts checked |  |  |  |  |

3. During Erection Checks

| B: Erection Quality |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Comments |
| 1 | Steel members erected in the correct sequence per method statement |  |  |  |  |
| 2 | Temporary bracing installed as required before releasing crane load |  |  |  |  |
| 3 | Column bases levelled using packing / levelling shims to correct tolerance |  |  |  |  |
| 4 | Columns checked for plumb (within BS EN 1090-2 tolerances: H/300 or 5mm max per storey) |  |  |  |  |
| 5 | Beams checked for level and line (within specified tolerances) |  |  |  |  |
| 6 | All bolted connections made with correct bolt grade, size, and number of bolts |  |  |  |  |
| 7 | Bolts tightened to snug-tight or specified torque (using calibrated torque wrench if required) |  |  |  |  |
| 8 | Packing plates used where specified in connection details |  |  |  |  |
| 9 | No drifting or reaming of bolt holes beyond permitted tolerance |  |  |  |  |
| 10 | Temporary connections not removed until permanent connections are fully installed |  |  |  |  |
| 11 | Site welding completed by qualified welder with approved WPS (if applicable) |  |  |  |  |
| 12 | All site welds inspected (visual and NDT if specified) |  |  |  |  |
| 13 | Steelwork alignment checked progressively during erection (not just at completion) |  |  |  |  |
| 14 | No unauthorised modifications to members or connections without engineer's approval |  |  |  |  |

4. Bolted Connection Checks

| Connection Ref | Member Marks | Bolt Grade | Bolt Size | No. Required | No. Fitted | Torque OK | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

5. Post-Erection Checks

| C: Completion and Final Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item | Y | N | N/A | Comments |
| 1 | All permanent connections complete (bolts tightened, welds finished) |  |  |  |  |
| 2 | Temporary bracing removed (only after permanent stability confirmed by engineer) |  |  |  |  |
| 3 | Column bases grouted with specified non-shrink grout |  |  |  |  |
| 4 | Grout cured and inspected (no voids, cracks, or shrinkage defects) |  |  |  |  |
| 5 | Final survey completed — columns plumb, beams level, overall geometry within tolerance |  |  |  |  |
| 6 | Protective coatings touched up at all site connections and damaged areas |  |  |  |  |
| 7 | Intumescent fire protection applied to site connections / welds (if specified) |  |  |  |  |
| 8 | Holding-down bolt nuts tack-welded or lock-nutted to prevent loosening (if required) |  |  |  |  |
| 9 | As-built survey data recorded and compared to design tolerances |  |  |  |  |
| 10 | All snags and non-conformances closed out |  |  |  |  |
| 11 | Steelwork completion certificate issued and signed |  |  |  |  |

6. Non-Conformances

| No. | Member / Connection | Description | Corrective Action | Closed Out |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

7. Erection Sign-Off

By signing below, we confirm the structural steelwork has been erected in accordance with the approved erection drawings, method statement, and BS EN 1090-2 requirements.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Erection Foreman |  |  | DD/MM/YYYY |
| Steelwork Contractor Manager |  |  | DD/MM/YYYY |
| Structural Engineer / Inspector |  |  | DD/MM/YYYY |
| Client Representative / PM |  |  | DD/MM/YYYY |

8. Notes / Additional Comments

Record additional observations, survey data references, crane lift plan references, or photographs.

9. Document Control

| Rev | Date | Description | Author | Approved |
| --- | --- | --- | --- | --- |
| 0 |  | Initial issue |  |  |
| 1 |  |  |  |  |